## Daily Reagent QC
[8 empty] | Transfusion Service Kaiser Permanente Medical Center - San Francisco | [11 empty] | Daily Reagent Quality Control Worksheet-Manual Tube QC
DAY | RACK # | Check Rgt OK, Lot# & Exp date (Y) | 1 | 2 | 3 | 4 | 5 | 6 | 7/8 | 7/8 | CW1-tube 7; CW3-tube 8 | 7/8 | 7/8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  |  | Corrective Action / Comment
|  |  | IS | IS | IS | IS | IS | IS | IS | 370 |  | AHG | C3√ | IS | Rh Ctrl | IS | IS | IS | IS | IgG | IgG | AHG | CLS | Reviewed
|  |  | 3+ - 4+ | 0 | 3+ - 4+ | 0 | 3+ - 4+ | 0 | 0 | 0 |  | 0 | 5' W+ - 2+ | 2+ - 4+ | 0 | 0 | 2+ - 4+ | 2+ - 4+ | 2+ - 4+ | 1+ - 3+ | 1+ - 3+ | 1+ - 3+ | ID | by
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
|  |  |  | Month: | [5 empty] | Year: | [5 empty] | Daily Reagent Quality Control Worksheet-Manual Tube QC 17 CLS: Reviewed by:
[8 empty] | Transfusion Service Kaiser Permanente Medical Center - San Francisco | [7 empty] | Daily Reagent Quality Control Worksheet-Manual Tube QC 15 IgG: Daily Reagent Quality Control Worksheet-Manual Tube QC
DAY | RACK # | Check Rgt OK, Lot# & Exp date (Y) | 1 | 2 | 3 | 4 | 5 | 6 | 7/8 | 7/8 | CW1-tube 7; CW3-tube 8 | 7/8 | 7/8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 |  |  | Comment
|  |  | IS | IS | IS | IS | IS | IS | IS | 370 |  | AHG | C3√ | IS | Rh Ctrl | IS | IS | IS | IS | IgG | IgG | AHG | CLS | Reviewed
|  |  | 3+ - 4+ | 0 | 3+ - 4+ | 0 | 3+ - 4+ | 0 | 0 | 0 |  | 0 | 5' W+ - 2+ | 2+ - 4+ | 0 | 0 | 2+ - 4+ | 2+ - 4+ | 2+ - 4+ | 1+ - 3+ | 1+ - 3+ | 1+ - 3+ | ID | by
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
|  |  |  | Month: | [5 empty] | Year: | [5 empty] | Daily Reagent Quality Control Worksheet-Manual Tube QC 17 CLS: Reviewed by:
Note on P4: 9-9-11 chg from 'alb' to Rh Crt' Gammaclone Rh Control
Note on P37: 9-9-11 chg from 'alb' to Rh Crt' Gammaclone Rh Control
Note on Q3: 12-4-11: Saline control
Note on Q36: 12-4-11: Saline control