**LOT NUMBER\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ EXP. DATE\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ LOCATION\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ DATE\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Positive Internal Control = The pink-to-purple line at the “Control” position can be considered an internal positive procedural control.

Negative Internal Control = The background color in the window should be light pink to white within 15 minutes.

USE A NEW LOG DAILY FAX DAILY TO ERIN SKELLY @2082

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Name, SS#** | **Time Collected** | **PATIENT RESULTS** | **Time Completed** | **CONTROL LINE PRESENT?** | | **INTERNAL CONTROL**  **RESULTS** | | **Positive Result Called to Provider** | **New Box Opened?**  **QC Ran?** | **Tester’s Initials** |
| **NO** | **YES** | **+** | **-** |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

TESTING MUST BE PERFORMED WITHIN ONE HOUR OF COLLECTION. Read results between 15-30 min after test set up.

ATC REVIEW\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_