**QC FAILURE**

**QC OUT?**

YES

Call Ancillary Testing Coordinator 814-860-2187

NO

Repeat with new QC/Kit

NO

Read SOP and repeat QC

NO

**Puzzled? Still don't know what to do?**

YES

YES

Check room temp and refrigerator temp. In range?

Check out-dates of controls and kit---all in date?

YES

Did you follow SOP correctly?

**Still didn't work?**

Report patient test results

Repeat QC

**QC OK**