## Slide 1: Provider performed microscopy procedure
KOH
10% Potassium Hydroxide Preparation

## Slide 2: Purpose
For direct microscopic examination of all patient material for the presence of fungal element.

## Slide 3
materials
10% KOH
Non-frosted glass slides
Coverslips
Gloves
Microscope with 10x and 40x objective

## Slide 4: Procedure
Place material on clean slide and add a drop of 10% KOH and cover with coverslip.
Examine slide using 10X and 40X objective.
Examine slide for presence or absence of fungal element.

## Slide 5: Examples of fungal element-present
FUNGAL ELEMENT-PRESENT
Budding Yeast

## Slide 6: Examples of fungal element-Absent
FUNGAL ELEMENT-ABSENT
Budding Yeast