| ### SAFETY MESSAGE | - It is recommended that all samples be handled and treated as a biohazard. Use appropriate PPE. |
| --- | --- |

| ### INTRODUCTION | Gram stain is one way of distinguishing between various species of bacteria that may exhibit a similar morphology. With this staining procedure, the microorganisms present can be grouped artificially into gram positive and gram negative types by their reactions, and through this results may give excellent leads as to what media to inoculate or what further examination can be done. The result can be of definite value to the physician in the management of the patient. With the gram stain procedure in the gram positive organism, the crystal iodine complex is trapped within the cell because of a decrease in cell permeability caused by alcohol dehydration, thus retaining the main dye. On the other hand, in the gram negative organisms, the dye iodine complex formed is soluble in alcohol and acetone, picking up the counter stain. |
| --- | --- |

| - EQUIPMENT AND - REAGENTS | 1. Methanol 2. Hardy Crystal Violet Solution 3. Hardy Gram's Iodine Solution 4. Hardy Acetone/Alcohol - 5. Hardy Safranin Solution - 6. Wescor Aerospray Gram Stainer and supplies |
| --- | --- |

| - SPECIMEN COLLECTION - PREPARATION | - The collection of specimens for gram staining purposes will vary with the source, site, and quantity of specimen collected. Use sterile equipment to collect and transport specimens. Certain specimens require specific transport media and containers. Reject all improperly labeled or collected specimens. Use a clean slide to transfer small amount of specimen onto. Allow to air dry prior to staining. Use a small barcode label on slide to identify specimen or label with first and last name, source and date. Once slide is dry, it is stable until stained. |
| --- | --- |

# PROCEDURE		     Follow the steps in the table below:

| # Step | ## Action |
| --- | --- |
| 1 | Allow a thin film of specimen material to air dry on the Slide. |
| 2 | Fix the slide with methanol. |
| 3 | Immerse the slide in crystal violet solution for 15 seconds. Allow the excess liquid to run off. |
| 4 | Immerse the slide in the gram's iodine solution for 15 seconds. Allow the excess liquid to run off. |
| 5 | Immerse the slide in the acetone/alcohol container for 10 seconds. Allow to dry completely (few seconds). |
| 6 | After the slide is dry, immerse in the safranin solution for 15 seconds. |
| 7 | Rinse the slide with tap water and let it dry. Note that water is used only in this last step. |
| 8 | Change and refill solutions as needed. Extra stored solutions are kept in the yellow cabinet. Change solutions every 2 or 3 days, or when acetone/alcohol evaporates to a low level. |
| 9 | Record new stain lot numbers and parallel test with Gram Stain Control slides. |
| 10 | For automated Gram Staining see Gram Slide Stainer Aerospray procedure LMS1500. |

| - RESULTS | Technologist should examine smear microscopically and report results. Report types of bacteria, and amount of WBC seen. Indicate the density (many, few, etc.). Report: “No Organisms seen”, when no bacteria or fungal elements are not seen. |
| --- | --- |

| - CRITICAL VALUES | - Positive Gram Stain from CSF and other sterile body fluids must be called to ordering provider. |
| --- | --- |

| - QUALITY CONTROL | This procedure is to verify the proper gram staining characteristics of reagents and must be performed each day that the gram stain reagents are used and when stains are changed. Results are to be recorded on the appropriate log sheet, dated, and initialed. Control slides are available at Sherman Way Laboratory Media Department. Use order form and fax request to them. |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | Obtain unprocessed control slide specifically for gram stain control. Each slide provided should contain gram negative and gram positive bacteria. |  |  |  |
| 2 | Stain a control slide by each gram stain method, manually and/or by the Wescor Gram Slide Stainer. |  |  |  |
| 3 | Observe under microscope that the control bacteria have been properly stained. Gram Negative bacteria should stain red. Gram positive bacteria should stain blue. |  |  |  |
| 4. | . Organisms used on control slide: - Gram negative rods, GNR. - Gram positive cocci, GPC. |  |  |  |
| 5. |  | If…. | Then… |  |
|  |  | the gram stain is satisfactory | Sign the proper gram stain Quality Control sheet . |  |
|  |  | If…. | Then… |  |
|  |  | the gram stain Q.C. slide is not satisfactory | - Stain another control slide. - Check stains and/or equipment and repeat. - Do not report any Gram Stains until QC passes. |  |

| Supporting ##### Documentation | Document No. | Name of Document |
| --- | --- | --- |
|  | LMS 1500 | Gram Slide Stainer Aerospray 7320 |

| ##### Distribution: | - South Bay Laboratory |
| --- | --- |

| ##### Reference: | Diagnosis Microbiology, 5th edition, Elmer W. Koneman, M.D., copyright 1997, page 86-88. |
| --- | --- |

| ##### Author | Ardavan Dabir BS, MT, CLS Nanette Taft, CLS |
| --- | --- |

## Document History Page

Effective Date:  1 /01/94

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Lab Manager reviewed/date | Med. Director reviewed/ date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| Minor | Newer Format | A.Dabir 2-19-04 | N.Muneno 2-19-04 | R.Doshi MD 3-3-04 | 3-3-04 |
| Major | Updated procedure to include Aerospray Gram Stainer QC, removed Gram Stain on Urine and GC Smears. | N.Taft 02-05-12 | N.Muneno 02-21-12 | W.Sony 02-21-12 | 02-21-12 |
| Major | Revised timing for acetone step 6. | N.Taft 11/01/12 | N.Muneno 11/05/12 | S.Wirio, MD 11/15/12 | 11/15/12 |
| Major | Removed NaBicarb step. Updated for new commercial stains. |  |  |  |  |