| Safety Message | Use proper ergonomics when performing computer work to avoid injuries. |
| --- | --- |

| Policy | - During KRMS, Cerner and/or HealthConnect downtime, the Lab Assistant will create a downtime lab slip. Lab slip and specimen is taken to Hematology department for testing. - STAT results are faxed to ordering provider for outpatients and to patient’s floor for inpatients. Timed-tests are also faxed to floor. - Critical values are called to provider or nurse and call is documented on slip as defined by “Critical Values and Reporting” procedure. Results are faxed to ordering provider or floor. - Once computers come back up after KRMS, Cerner and/or HealthConnect downtime, the Lab Assistant will generate a new Cerner label for each test performed during the downtime. These new barcodes will be hand delivered to the appropriate department. |
| --- | --- |

| CBC Downtime Procedure | Follow the steps below to perform specimen testing during KRMS, Cerner and/or HealthConnect downtime. Step; Action. 1.; Turn on XN9000 printer from the IPU. - Main Menu - IPU Settings - Auto Output - Check GP box - Apply. 2.; Place a downtime barcode on the CBC specimen and manual lab slip.. 3.; Run samples on the Sysmex XN9000 Line, then print result.. 4.; For STAT, Timed-tests, or Routine Inpatient orders: Carefully match the barcode number (accession number) on the instrument printout with the lab slip. - Write patient’s last name, first name and MRN on printout. - Review results. - Perform slide review or differential if indicated. - If results are within auto release limits, fax results to provider (out-patients) or floor (in-patients). - If any of the results are critical values, call provider or floor. Document time and name of provider or RN who took the call on slip. - Keep faxed slip together with original instrument printout and downtime lab slip for releasing after computer comes back up.. 5.; For Routine Outpatient orders: - Keep samples in specimen refrigerator (2 – 8 °C) until computer comes up. Samples are good for 24 hours. If computer is down for an extended period, run samples as in step 4.. 6.; When the computer comes back up, match new Cerner label with correct downtime label.. 7.; Edit downtime barcode with new Cerner barcode in IPU. Validate result.. 8.; If results were within auto-release limits, result will automatically validate.. 9.; If results required a smear review, results will be held in WAM validation screen awaiting CLS review.. |
| --- | --- |

| Manual Methods Downtime Procedure | Follow the steps below to perform specimen testing during KRMS, Cerner and/or HealthConnect downtime. Step; Action. 1; Perform tests according to test procedure. Note: Refer to specific procedure in Hematology Manual for testing.. 2; - A downtime lab slip will be submitted with specimen. - Record results on lab slip. - Fax results for STAT tests (e.g. CSF cell counts, Body Fluid cell counts). - Results will be entered from this lab slip once computer comes back-up.. 3; Once computer comes back-up, new barcode will be delivered to Hematology Dept.. 4; Result test in Cerner.. |
| --- | --- |

| ESR Alcor iSED Downtime Procedure | Follow the steps below to perform specimen testing during KRMS, Cerner and/or HealthConnect downtime. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1. | Perform tests according to “ESR: Alcor iSED” procedure. |
| 2. | - Specimens will be delivered to department with a downtime lab slip attached. - Attach a downtime barcode to sample and lab slip. - Scan accession number into instrument and insert specimen tube into sample holder. - Write result on downtime lab slip. - Stat requests must be faxed to provider or patient floor. - When computer comes back up, new Cerner accession must be resulted manually. |

| ##### Author | Nanette Taft, CLS, MT(ASCP) |
| --- | --- |

| ##### Related Documents | Document | Title |
| --- | --- | --- |
|  | LHS 1062 | ESR: Alcor iSED |
|  | LHS 2210 LAS 1142 | Sysmex XN9000 Critical Values and Reporting |

| ##### Distribution | South Bay Laboratory |
| --- | --- |

Document History Page

Effective Date:  09/12/12

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Lab Manager Reviewed/ Date | Med. Dir. Reviewed/ Date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| NEW |  | N.Taft 09/12/12 | N.Muneno 09/18/12 | S.Wirio 09/18/12 | 09/18/12 |
| MINOR | Updated for Cerner | N.Taft 07/09/14 | J. Wolf 07/09/14 | S. Wirio 07/10/14 | 07/15/14 |
| MAJOR | Updated for new XN and Alcor iSED Analyzers |  |  |  |  |