| # SAFETY MESSAGE | All blood and body fluid specimens should be considered potentially infectious and should be handled with Universal Precautions. |
| --- | --- |
| # PURPOSE | - An effective quality control program is necessary to ensure the proper operation of the Bacteriology Department. Routine preventive maintenance must be performed regularly and records kept in the bacteriology quality control and maintenance book. Daily maintenance and Quality Control is coordinated and reviewed by the department supervisor at least monthly. Specific maintenance responsibilities are assigned to the hospital engineering department. |

| # MEDIA AND SUPPLIES | - Media Quality Check - Gram Stain Reagent Replacement - India Ink Controls - Gram Stain Smear Control - Occult Blood/Gastroccult Controls - BD GasPak™EZ CO2 Gas Generating Pouch System - Rapid Flu/RSV Controls - C.Diff Controls |
| --- | --- |

| # POLICY | # Follow the steps in the Bacti Q.C. & PM Book |  |
| --- | --- | --- |
|  | # Step | ## Action |
|  | 1 | Check quality and expiration dates on all media and supplies. |
|  | 2 | Baker Biological Hood and Kewaunee Chemical Hood should be checked daily for proper functioning and daily maintenance performed. |
|  | 3 | Perform daily maintenance on Wescor Gram Stainer. |
|  | 4 | Check manual Gram Stain reagents. Replace as needed. |
|  | 5 | Perform Gram Stain Control on Wescor Aerospray daily and parallel test for each new batch(lots) of stains used. |
|  | 6 | Perform Gram Stain Control by manual method daily if used and parallel test for each new batch(lots) of stains used. |
|  | 7 | Using Perform India Ink Controls daily with each India Ink test performed. |
|  | 8 | Perform Occult Blood Control daily. |
|  | 9 | Perform Gastroccult Control daily each day of use. |
|  | 10 | Perform Rapid Flu Control daily each day of use. |
|  | 11 | Perform Rapid RSV Control daily each day of use. |
|  | 12 | Perform C.Diff Control daily each day of use |
|  | 13 | Centrifuge, Digital Tally Counter, Cytospin, Ames Slide Stainer, Bacteriology Microscope, Mini Hot Plate and Safety Checklist should be checked daily and PM checks recorded in the maintenance book. |
|  | 14 | Media Supplies and Solutions are to be ordered as needed. |
|  | 15 | Report any discrepancies to supervisor. |

| # REFERENCE | Laboratory Policy |
| --- | --- |

| ##### AUTHOR | Markowitz, Don, MT, CLS Nanette Taft, CLS |
| --- | --- |

- Document History Page

Effective Date: 07/01/04

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Lab. Manager reviewed/date | Med. Director reviewed/date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| Minor | Newer Format | A.Dabir 7/10/2004 | N. Muneno 8/30/2004 | R.Doshi 9/7/2004 | 09-07-2004 |
| Major | Revised format and content. | N.Taft 09-30-11 | N.Muneno 10-04-11 | R.Doshi 10-05-11 | 10-05-11 |
| Existing | New Laboratory Med. Director |  |  | S.Wirio 08/22/12 | 08-22-12 |
| Major | Revised Gram Stain Control to include parallel testing. | N.Taft 11-15-13 | N.Muneno 11-18-13 | S.Wirio, MD 11-18-13 | 11-18-13 |
| Major | Added New Mini Hot Plate to Daily PM. | N.Taft 08/22/16 | J.Wolf 08/23/16 | S.Wirio, MD 08/24/16 | 08/24/16 |
| Major | Added C.Diff, H.Flu, RSV controls |  |  |  |  |