| # SAFETY MESSAGE | Exercise standard precautions in handling all patient specimens and chemical reagents. |
| --- | --- |
| # PURPOSE | In the India ink method, the capsule displaces the colloidal carbon particles of the ink and appears as a clear halo around the microorganism. The procedure is especially recommended for demonstrating the capsule of Cryptococcus neoformans. |

SPECIMEN			Spinal fluid.

| # REAGENTS # AND EQUIPMENT |  | 1 | India ink |
| --- | --- | --- | --- |
|  |  | 2 | Slide |
|  |  | 3 | Coverglass |

# PROCEDURE		            Follow the steps in the table below:

| # Step | ## Action |
| --- | --- |
| 1 | Spin spinal fluid in a centrifuge for 10 minutes. |
| 2 | Put a drop of CSF sediment on a slide. |
| 3 | Add a drop of India ink (one third of the volume) on a slide. Mix well and cover the slide with a thin coverglass. |
| 4 | Examine under the Hi Dry objective with reduced light. Look for presence or absence of a clear halo around yeast or budding yeast. Note: Do not confuse white blood cells with yeast. The presence of encapsulated buds smaller than the mother cell is diagnostic for C. neoformans. |
| 5 | Enter results into Cerner MRE as: “EYP1 and EYP2” for Encapsulated yeast seen suggestive of Cryptococcus Neoformans or “NEYS” for NO Encapsulated Yeast Forms Seen. |

| # QUALITY CONTROL # FOR INDIA INK | 1 | Use fixed cultures of Candida albicans, (Negative Control) and Cryptococcus species, (Positive Control) supplied by SDL (Scientific Device Laboratory). |
| --- | --- | --- |
|  | 2 | Mix the vials prior to opening. |
|  | 3 | Mix one drop of undiluted India ink with one drop of control vial on microscope slide. |
|  | 4 | Place a cover slip on mixture and allow suspension to settle on slide. |
|  | 5 | Scan slide under low power with reduced light. Capsules appear as clear halos. If a halo is seen, switch to high power and a positive capsule is one with a yeast-like body in the center of halo. If halo is not observed Cryptococcus neoformans is not present on smear. |
|  | 6 | Each time an India Ink capsule procedure is performed on a patient a control slide should be made. |
|  | 7 | Candida albicans (negative control) |
|  | 8 | Cryptococcus species (positive control) |
|  | 9 | Record results in quality control book. |

| - CRITICAL VALUES | - Positive India Ink from CSF must be called to ordering provider. |
| --- | --- |

| # EXPECTED RESULT | Normal result is No Encapsulated Yeast Forms Seen. |
| --- | --- |

| # REFERENCE | Clinical Diagnosis and Management by Laboratory Methods, 16th edition, John Bernard Henry, M.D., 1979, W.B. Saunders Company. Baron, EJ, Bailey and Scott’s Diagnostic Microbiology, CV Mosby 1990 |
| --- | --- |

| ##### Author | Ardavan Dabir BS, MT, CLS Nanette Taft , CLS |
| --- | --- |

### Document History Page

Effective Date: 03/01/92

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Lab. Manager reviewed/date | Med. Director reviewed/date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| Minor | Newer Format | A.Dabir 8/5/2004 | N.Muneno 8/31/2004 | R.Doshi 9/07/2004 | 9/07/2004 |
| Major | Changed to manufactured QC controls | N.Taft 06-02-10 | N.Muneno 06-02-10 | R.Doshi 06/07/10 | 06/07/2010 |
| Existing | New Lab Med Director. |  |  | S. Wirio,MD 08/22/12 | 08/22/12 |
| Major | Changed resulting format in LMS | N.Taft 09/18/12 | N.Muneno 10/02/12 | S.Wirio, MD 10/02/12 | 10/02/12 |
| Minor | Updated for Cerner | N.Taft 08/28/14 | J. Wolf 09/02/14 | S.Wirio, MD 09/02/14 | 09/02/14 |
| Major | Updated positive result response to EYP1 and EYP2 for Encapsulated Yeast Seen suggestive of Cryptococcus Neoformans. | N.Taft 12/13/16 | J. Wolf 12/15/16 | S.Wirio, MD 12/16/16 | 12/16/16 |
| Major | Added Critical Value for Positive India Ink. |  |  |  |  |