Technical Bulletin

SCPMG Laboratory System – South Bay Medical Center

|  |
| --- |
| **<STA – DESORB REAGENT PREPARATION>** |
| ***REAGENT PREPARATION:*** * **Install a new STA – maxi Reducer (REF 00801) and the perforated cap on a freshly opened bottle of STA – Desorb before loading it into the analyzer.**

 |