## Sheet1
STA-R Max® CP MAINTENANCE CHART | [18 empty] | SERIAL #_____________________ | [5 empty] | MONTH____________ |  |  |  | YEAR ________
DAILY: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Product Drawer 15-19°C
Rd Needle Head 36.5-37.5°C
Measurement plate 36.5-37.5°C
Sample pipetting %
Reagent pipetting zone 1 (%)
Reagent pipetting zone 2 (%)
Initials
Soak Needle #1 Desorb-10 minutes
Initials
NOTE: Schedule is based on Manufacturer recommendations for laboratories performing 0-500 tests per day. Adapt for higher TEST VOLUME. ***
WEEKLY: | 12: Week 1; 16: Week 2; SERIAL #_____________________ 20: Week 3; SERIAL #_____________________ 24: Week 4; MONTH____________ 28: Week 5
[12 empty] | Date |  | Initial |  | Date |  | Initial |  | Date |  | Initial |  | Date |  | Initial |  | Date |  | Initial
Clean wash wells with fresh 0.37% active chlorine decontamination solution for 10 minutes **
Clean the piercing needle (30 minutes)
Check the product drawer and measurement plate-clean warm H20, wipe dry if necessary
Clean measurement and incubation wells with fresh 20-40% ethanol on cotton swab. Remove any debris.
Perform needle purge
Check main and optic module air filters - clean or replace if necessary
Shutdown, wait at least 30 seconds, then Startup analyzer
Perform Needle 3 Acid Wash
Decontaminate stir bars as per package insert
Monthly:
Replace syringe tip and O ring
As Needed:
Clean touch screen, suction tip, racks, rack conveyor,cuvette loader, barcode reader windows
Replace piercing needle every 100,000 piercings
** Calculation to prepare 0.37% active chlorine decontamination solution: N= (B/0.37) – 1
N = the parts of water to add to 1 part bleach, B = % active chlorine in the bleach | SERIAL #_____________________ 20: Reviewed:; SERIAL #_____________________ 23: _________________________
*** See "Preventive Maintenance" section of Reference Manual for additional information

## Sheet2
KAISER PERMANENTE HARBOR CITY, CA. 90710 DEPARTMENT OF PATHOLOGY AND LABORATORY SERVICES
ACTION LOG
DATE | PROBLEM/RESOLUTION | CLS INITIALS | SUPERVISOR INITIALS