## Sheet1
Chemistry Inventory Checklist
CLS/ Date:
Vendor | Product | Catalog # | Minimum Stock | Current Stock | Expiration Date OK? | Quantity to order | Date Ord. & Intitial | Date Rcvd. & Initial
Med Tox Diagnostics | MedTox Testing Device | 604018 | 5 boxes (Order 10 boxes if less than minimum)
| MedTox Scan Cleaning Cassette | 833076 | 10
| MedTox NEGATIVE QC | 101183 | 2 VIALS
| P-V MedTox Scan 2x POSITIVE | 102367 | 2 VIALS
| MedTox Meter Paper | 101885 | 10 (order 20 if <10)
Precision Biologic | Pooled Normal Plasma | CCN10-10 | 2 Boxes
Fisher | SnapPak for 9180 Electrolyte Analyzer | 03112349180 | 2 boxes
Roche | Cleaning Solution | 03111555180 | 1 unopened bottle
| Deproteinizer | 03110435180 | 1unopened bottle
| Isetrol, Levels 1-3 | 03112888180 | 1 unopened set
| Sodium Electrode Conditioner | 03110362180 | 1unopened bottle
| Reference Electrode | 03112284180 | Check last installation (expiration dates vary) See Action Log in AVL binder
| Dummy Electrode | 03110192035
| Calcium Electrode | 03110354180
| Sodium Electrode | 03110419180
| Reference Electrode Housing | 03112284180
| 9180 printer paper | BP5025 | 5 packs
Hologic | fFN Printer Labels | 52660-001 | 2 rolls
| Rapid fFN | 1200 | 1 opened box (order 3 when last box is opened)
Stago (Star Evolution Supplies) | Cuvettes | 38669 | 3 boxes
| Mini Reducer | 797 | 5 boxes
| Maxi Reducer | 801 | 5 boxes
| Micro Cups | 802 | 2 boxes
| Cleaner Solution | 973 | On standing order(Alert Manager if ≤ 3 boxes)
Beckman Coulter | Enzyme Validator | 441350 | 1 unopened box
| Protein Cal | 450202 | 1 unopened box
| Bili Cal | 465915 | 2 boxes
| Synchron Controls | 657365 | 1 opened box (half full)
| Multical | 442600 | 2 boxes
| Microprotein Cal | 445930 | 1 unopened box
Beckman Coulter (Airfuge) | Airfuge 2.4 Liner | 342634 | 3 packs
| Airfuge 3.5 Liner | 341251 | 3 packs
| Airfuge Stator Pad | 339610 | 1
Samco Scientific | Transfer Pipettes | 233 | 2 packs
Beckman Coulter (DXI) | Citranox | 81912 | 1 unopened bottle
| Contrad 70 | 81911 | 1 unopened bottle
| Wash Buffer | A16793 | On standing order - (Alert Manager when ≤ 10 boxes)
| Reaction Vessels | 386167 | 2 boxes
| DXI Waste Bags | 973157 | 2 boxes
Beckman Coulter | BNP Calibrator | 98202 | 3 boxes
| BNP Controls | 98201 | 2 boxes
Beckman Coulter | βhCG Calibrator | B11754 | 3 boxes
| hsTnI Calibrator | C26909 | 3 boxes
Milipore | Heterotrophic Plate Count Sampler EO Sterilized | MHPC10025 | 1 box
Beckman Coulter | BNP Reagent | 98200 | On standing order (Alert Manager if ≤ 7 boxes)
| Access System Check Solution | 81910 | 2 boxes
| hsTnI Reagent | B52699 | On standing order (Alert Manager if ≤ 7 boxes)
| βhCG Reagent | A85264 | On standing order (Alert Manager if ≤ 7 boxes)
Beckman Coulter | Ferritin Reagent | 33020 | 5
| Ferritin Calibrators | 33025 | 3
| PTHIO Calibrator | A16953 | 2 boxes
| PTHIO Reagent | A16972 | 5
| DXI Substrate | 81906 | Standing order: Notify Manager if £ 5
| DRUG CAL 1 | 469600 | 3
| DRUG CAL 2 | 469630 | 3
| DRUG CAL 3 PLUS | 471080 | 3
| VANC CAL | 378045 | 2
| CAL 5 PLUS | 469965 | 2
| ETOH CAL | 474994 | 2
| Clenz Solution | 664090 | 1 unopened box (order 3 if last box is opened)
| AQUA Cal 1 | 471288 | 5 boxes (order 5 if <5 boxes)
| AQUA Cal 2 | 471291
| AQUA Cal 3 | 471294
Hologic | Rapid fFN Control Kit | 01166 | 1 unopened kit
Ricca | Perchloric Acid for Pyruvic (Pyruvate) | R5512800-100A | 1 opened bottle with <3 months from expiration
Stago | Desorb |  | STANDING ORDER Monitor EXPIRATION DATE (when ordering, ask for same lot# or lot with longer expiration date (Notify Manager If £ 3)
Neoplastin
PTT
| Liatest N+P | 00526
| Quality HBPM/LMWH | 00686
| Quality HNF/UFH | 00381
| Coag N+ABN Plus | 00677
| Xa Reagent | 00322
| Fibrinogen | 00674
| D-Dimer | 00515
| Owren Koller | 00360 | 3 boxes
| CaCl2 | 00367 | 3 boxes
| Multi Hep Calibrator | 00348 | 1 unopened box
Beckman Coulter | Sodium Hypochlorite 5% w/v, ACS (DXC Maintenance) | LC246301 | 1 bottle (order 1 if last bottle is opened)
| CCWA | 657133 | 5 boxes
Thermo Scientific | Sodium Chloride 0.90% W/V (500mL) | A93901 | 3 bottles
| 2mL Sample Cups | 81902 | 5 bags
| 0.5 mL Sample Cups | 651412 | 5 packs (order 10 packs <5 packs)
Beckman Coulter | CTS Auto-Gloss | 657197 | 1 bottle
| NERL Reagent Grade Water | 9800-3 | 1 box = 6 bottles (order 1 box if <3 bottles)
Fisher | 200-1000 uL Pipette Tips | 02-681-160 | 3 bags (order 1 case if < 3 bags)
| 0-200 uL Pipette Tips | 02-681-134 | 3 bags (order 1 case if < 3 bags)
| Aliqiout Tubes/ Cup case (aliquot tubes not for remapping) | 448774 | 1 opened box (half full) - oder 1 box when less than minimum
Beckman Coulter | False Bottom Transfer Tubes | 2910034
Vista Lab | Blue caps (Line) | A17638 | Standing Order Notify Manager if £15 bags
Beckman Coulter | Bili Cal Ampule TL Kit | A24733 | 1 box
Vista Lab | Macro Pipette Tips | 9048 | 2 boxes (order 4 if <2 boxes)
BioRad | Dispenser Tips for Screw Caps | 98700 | 3 bags (order 6 if <3 bags)
Beckman Coulter | Enviromental Caps | A65595 | 2 bags (order 2 if <2 bags)
Fisherbrand | Plain Wood Applicator Sticks | MDS202060 | 4 boxes
AddiPak | 3mL sterile 0.9% NaCl | 200-39 | <2 boxes, ok to get supply from Hematology
Fisher | Disposable Chamber Cleanes and Sampler Tips | 133800 | 2 unopened boxes
Advanced Instruments | Paper Printer - Thermal Pkg 5 | 3D3835 | 2 boxes
| 2000 mOsm/kg Caibration Standard | 3LA201 | 2 boxes
| 850 mOsm/kg Calibration Standard | 3MA085 | 2 boxes
| 290 mOsm/kg Reference Solution | 3LA029 | 2 boxes
| 50 mOsm/kg Calibration Standard | 3MA005 | 2 boxes
| Ease Eject Sampler | 3M0825 | 1 sampler
| Plunger Wires, Pipet (Pckg 2) | 3M0828 | 1packages
Beckman Metered Supplies ( Check if needed to borrow and alert Unit Manager)
Beckman Coulter | NO FOAM | 469110 | 3 bottles
| ISE REFERENCE | A28937 | 5 boxes
| ISE BUFFER | A28945 | 5 boxes
| CO2 ACID | 472481 | 5 boxes
| WASH CONCENRATE | 445865 | 2 boxes