## Dilution with Cerner limits
INSERT ACCESSION LABEL HERE
CLS Initials:
Date:
Analyte being diluted:
Results Reported:
Indicate diluent used by drawing a circle around the dilution factor, answer question whether ORDAC was used in programming dilution on the DXC analyzer and attach instrument print outs to this worksheet and submit for manager review.
| Tests listed below are approved for dilution by SCPMG Lab Systems: |  |  | DILUTION FACTOR | SAMPLE | DILUENT
| ALT | TDM's |  | 2 | 100 µL | 100 µL
| AST | Acetaminophen |  | 3 | 100 µL | 200 µL
| CK | Carbamezepine |  | 5 | 100 µL | 400 µL
| Glucose (Auto ORDAC) | Digoxin |  | 10 | 100 µL | 900 µL
| hCG | Gentamicin |  | 15 | 100 µL | 1400 µL
| Lactic Acid | Phenobarbital |  | 20 | 50 µL | 950 µL
| Lipase | Phenytoin |  | 50 | 10 µL | 490 µL
| TBIL | Salicylate |  | 100 | 10 µL | 990 µL
| Magnesium | Theophylline
| Urine Creatinine | Vancomycin
| Urine Total Protein (mTP) | Valproic Acid
| Manual ORDAC | Diluent used (For proper diluent selection, refer to Chemistry IFU)
| YES | Saline | DI Water
| NO | Normal Pooled Plasma | Wash Buffer
|  | QC Material | Normal Patient Sample
Comments:
NOTE: Due to Pyruvate and P5P, initial OIR LO AST and ALT must be verified by 1:20 dilution.