April 29, 2013

Memo:  Vitros Cartridges/

Electrolyte Reference

Fluid

To prevent shifting of results please follow and adhere to the recommended Vitros guidelines for slide usage:

- Na+ cartridges should be warmed properly, that is, 90 mins at room temperature when taken out of the refrigerator or 2 hours when taken out of the freezer.

- Electrolyte Reference Fluid should be mixed well before used.

Thank you.

Rosalie Fajardo