#### Specimen Log-In, Cerner Millennium

| ##### Purpose | To outline steps required in logging-in specimen/s on Cerner Millennium. |
| --- | --- |

| ##### Workplace Safety | For equipment safety, proper body mechanics, sharp exposure, other safety practices, see LGM 8000 - Safety Practices. |
| --- | --- |

| ##### Procedure | Specimen log-in must occur before the tests can be resulted or the specimen added to a transfer list. Follow the steps listed below: Click the Specimen Log –In button on the Cerner AppBar. A box, “PathNet Collections: Specimen Log-In” will appear on your screen. Choose Log-In By: Accession and click Retrieve. |
| --- | --- |
|  | #### Specimen Log-In, Cerner Millennium, Continued Enter information for Coll Date, Coll Time and Coll ID, if not already present. Dnkfnoeijroi |

#### Specimen Log-In, Cerner Millennium, Continued

| Inpatient Collector | Accepted Coll ID |
| --- | --- |
| Lab Assistant or Phlebotomist | Their assigned NUID |
| Nurse | RNC |
| Physician | MDC |
| Emergency Department | EDC |

Click Detail at the lower right corner to review every single test orders attached to the accession number.  To prevent problems, it is important to uncheck the box if specimen is not submitted for the testing.

Verify the Location is correct and click Log-In

#### Specimen Log-In, Cerner Millennium, Continued

The status changes from Dispatched to Collected to In-Lab.

In-Lab status on Cerner’s Order View Entry:

#### Specimen Log-In, Cerner Millennium, Continued

| SIGNATURE | DATE |
| --- | --- |
| - Jo-Ann Calalang, CLS Laboratory Systems Manager - Los Angeles Medical Center |  |
| Julie Toti, CLS, MS Manager, Clinical Laboratory – Los Angeles Medical Center |  |
| Joseph Thompson, M.D. Director, Clinical Laboratory – Los Angeles Medical Center |  |

#### Specimen Log-In, Cerner Millennium, Continued

## HISTORY PAGE

| Change type: New, major, minor | Changes made to SOP - describe | Signature responsible person/date | Laboratory Director review/date | Laboratory Manager review/date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| New |  |  |  |  |  |