

1

**LAMC LABORATORY**

|  |  |  |  |
| --- | --- | --- | --- |
| ***Inter-Office Memorandum*** | | | |
|  |  |  |  |
| **To:** | ALL LAMC Staff | **Date:** | 2/06/15 |
| **From:** | AIDA LEGASPI  Area Lab. Manager |  |  |
| **Subject:** | **Respiratory Panel, PCR** | **Location:** | LAMC |
|  |  | **Ext.:** |  |
| **CC:** |  |  |  |

The **Respiratory Panel PCR** is now routed to LAMC effective today, January 26, 2015 @ 10:38 AM.

This test will be done 24/7.

Results will be manually entered in CERNER.

All positive results must be called to the provider.

If AH1, AH109 or AH3 (subtypes of Influenza A) result is “Detected”, the Influenza A should be reported also as “Detected”.

After testing, save all specimen in the So Low freezer located in the store room (ultra freezer).