KAISER PERMANENTE

LAMC

HEMATOLOGY

NEW QC PROCEDURE AND QC LOG FORMS FOR CELLAVISION – CELL LOCATION

EFFECTIVE DATE: **AUGUST 1, 2015**

**TO ALL CLS:**

Starting August 1, 2015, new QC Procedure and QC log forms will be used for Cellavision Cell Location.

* All QCs will still be performed **by the assigned shift for the month and after every instrument repaired performed on either the stainer or Cellavision.**
* Core Lab Cellavision will have 2 freshly stained QC slides performed, one stained in **DxH SMS #2** and another stained using a **Siemens Hematek stainer**.
* Stat Lab will only have 1 freshly stained QC slide from **DxH SMS#1**.
* All Comments and Action log will be available in the same form for documentation.
* Review updated procedure LHM299.01 Cellavision Quality Control Procedure.

REFERENCE:

* LHM299.01 Cellavision Quatily Control Procedure



