#### Autologous Serum Eyedrops

| ##### Purpose | This procedure defines the system for collection, processing and tracking of autologous serum samples for autologous tear preparation by California Pharmacy and Compounding Center |
| --- | --- |

| ##### Scope | This procedure is intended for all Laboratory Assistants and Service Representatives |
| --- | --- |

| ##### Policy | - Autologous serum eyedrops may only be ordered by corneal surgeon ophthalmologist sub-specialists. - Laboratory order for Autologous Serum Eyedrops are ordered in KP Health Connect (227397) |
| --- | --- |

| ##### Workplace Safety | - All specimens should be handled as though capable of transmitting infectious diseases. - For equipment safety, proper body mechanics, sharp exposure, other safety practices, see LGM 8000 - Safety Practices. |
| --- | --- |

| ##### Specimen collection | Step; Action. 1; Patient arrives at the outpatient blood draw station along with the California Pharmacy and Compounding Company form and prescription. (Form must be completed by the physician).. 2; Patient is being checked in for laboratory encounter and collect the applicable co-pay.. 3; Specimens are collected Monday-Friday from 7:00 am to 12:00 pm. 4; Phlebotomist to follow Regional Policy on Blood Culture – Skin Preparation and Specimen Collection. Use 1.5 Frepp Chlorhexadine (Chloroprep) to cleanse the collection site. LPhM 201 – Patient Identification for Outpatient Phlebotomy for proper patient identification, specimen collection, and labeling requirements.. 5; Draw 30 GLD6 tubes (150CC) for 100% Serum or 20 GLD6 tubes (100CC) for 75% or 50% Serum from patient, avoiding hemolysis. All tubes must be full.. 6; Hand deliver specimens with California Pharmacy and Compounding Company and prescription form in a biohazard bag to 4867 main laboratory (Warm hand off).. |
| --- | --- |

Continued on next page

#### Autologous Serum Eyedrops, Continued

| ##### Specimen Processing | Step; Action. 1; Upon specimen receipt at 4867 main laboratory, verify test requested and patient identification labels against California Pharmacy and Compounding Company form.. 2; Allow specimens to fully clot for 2 hours before centrifuging.. 3; Centrifuge specimens for 15-20 minutes at 3000 rpm in large centrifuge.. 4; Do not aliquot specimens. 5; Refrigerate immediately. Must be sent within 24 hours.. |
| --- | --- |

| Specimen Transport (Send Out) | Step; Action. 1; Specimens are sent on ice packs to California Pharmacy and Compounding Center by courier for processing into Autologous Tears.. 2; Package refrigerated specimens for transport via Dynamex courier with California Pharmacy and Compounding Company form and prescription form To: California Pharmacy & Compounding Center 4000 Birch Street, Suite 120 Newport Beach, CA 92653 949-642-8057. 3; Log specimen in Send-Out Logbook.. |
| --- | --- |

| Non-Controlled Documents | The following non-controlled documents support this procedure. - California Pharmacy and Compounding Company form - California Pharmacy and Compounding Company Prescription form |
| --- | --- |

| Controlled Documents | The following controlled documents support this procedure. - Blood Culture – Skin Preparation and Specimen Collection - LPhM 201 – Patient Identification for Outpatient Phlebotomy - LGM 8000 – Safety Practices |
| --- | --- |

| References | Autologous Serum Eyedrops Ophthalmology Kaiser Northern California Clinic Protocol California Pharmacy and Compounding Center |
| --- | --- |

End of page

Autologous Serum Eyedrops, Continued

Reviewed and approved by:

| SIGNATURE | DATE |
| --- | --- |
| Julie Toti, MS, CLS Laboratory Operations Director, Clinical Laboratory |  |
| Hedyeh Shafi, M.D. Medical Director, Clinical Laboratory |  |

- Autologous Serum Eyedrops, Continued

- HISTORY PAGE

| Change type: New, major, minor | Changes made to SOP - describe | Signature responsible person/date | Laboratory Director review/date | Laboratory Manager review/date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| New | Replacing Document number LSPM 250 |  |  |  |  |