11/8/2018

**ACTION:**

Urobilinogen tests performed using the velocity strips will only be reported if results are NEGATIVE.

If results are positive, repeat urobilinogen testing using back up method V-CHEM Strips used for low volume urinalysis testing (manual strip method).

IChem Velocity will hold results for Urobilinogen >2.0 and will not autoverify unless accepted in the system and will flag CHEMCONFIRM. If this happens:

1. Perform confirmation method(V-CHEM Strips) on the sample.
2. Report result from confirmation method(V-CHEM Strips) for Urobilinogen in Cerner using ARE first.
3. Then accept result in the IChem Velocity to report the rest of the Urinalysis Chemistry.
4. Log patient result in the Urinalysis Positive Urobilinogen Audit Form/Binder located in the Urinalysis Routine Area.
5. 





