#### TESTING PROTOCOLS FOR LEUKEMIA AND LYMPHOMA CASES IN THE SCPMG FLOW CYTOMETRY LABORATORY

| ##### Purpose |  |
| --- | --- |

- The protocols for leukemia and lymphoma are guidelines for cell surface marker

- testing. The hematopathologist may add tests for surface markers or delete a portion of

- the test panel on a case by case basis.

Work Place Safety:

All laboratory employees are expected to maintain a safe working environment and an injury-free workplace. Laboratory employees are responsible for their own safety, the safety of others and adhering to all departmental and medical center safety policies and procedures.

- For standard precautions and safety practices in the laboratory; see LAMC-PPP-0123, specifically, but not limited to, equipment safety, proper body mechanics, sharps exposure and proper use of personal protective equipment (PPE).

- For Universal Body Substance precautions, see LAMC-PPP-0128, specifically, but not limited to, exposure to body fluids.

- For proper handwashing, see LAMC-PPP-0132, specifically, but not limited to, proper handwashing.

- For proper infection control, see LAMC-PPP-0127, specifically, but not limited to, proper use of gloves.

- For proper handling of regular and infectious waste, see LAMC-PPP-0129, specifically, but not limited to proper disposal of regular and biohazardous waste.

- For proper cleaning of work area, see LAMC-PPP-0130 - Cleaning Work Areas.

##### Policy

When specimen or slides are in limited quantities, BT staff shall consult with Hematopathologist to prioritize tests.

| ##### Specimen Requirement |  |
| --- | --- |

- Refer to SOP LAMC-PPP-0578: Processing, transport, requirement of Flow Cytometry Specimens

#### TESTING PROTOCOLS FOR LEUKEMIA AND LYMPHOMA CASES IN THE SCPMG FLOW CYTOMETRY LABORATORY

| ##### Reagent, Materials and Equipment |  |
| --- | --- |

Not applicable for this procedure.

| ##### Protocols/Panels 4-colors: |  |
| --- | --- |

Lymphoma 10-color Panels:

| 10-color Lymphoma Panel | FITC | PE | ECD | PC5.5 | PC7 | APC | APC-AF700 | APC-AF750 | PB | KrO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Combo | Kappa | Lambda | CD19 | CD8 | CD5 | None | CD4 | CD3 | CD20 | CD45 |
| T-Cell | CD57 | CD16 | CD19 | CD56 | CD5 | CD7 | CD4 | CD3 | CD8 | CD45 |
| B-Cell | Kappa | Lambda | CD19 | CD38 | CD5 | CD10 | CD23 | CD20 | FMC7 | CD45 |

| SEZARY PANEL (4- colors) |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| CD4 | CD8 | CD3 | CD7 |
| CD4 | CD26 | CD19 | CD3 |

#### TESTING PROTOCOLS FOR LEUKEMIA AND LYMPHOMA CASES IN THE SCPMG FLOW CYTOMETRY LABORATORY

Leukemia Panel- 4-Colors:

This table details the testing protocols for smears to aid in the diagnosis of leukemia.

| Smear | Tests |
| --- | --- |
| ALL (Acute Lymphocytic Leukemia) | - MGG stain - Px |
| AML (Acute Myelogenous Leukemia) | - MGG stain - Px - SBB - ANAE - ANAE with NaF and |
| CLL (Chronic Lymphocytic Leukemia) | - MGG stain |

This table shows detail of testing panel for bone marrow aspirates, peripheral blood and other body fluids in the aid of diagnosis of leukemia.  Note: cy before antibody denotes antigen staining using intracellular or cytoplasmic staining method.

| ACUTE LEUKEMIA SCREENING (4-colors) |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| CD33 | CD13 | CD45 | CD34 |
| HLA-DR | CD64 | CD45 | CD14 |
| cTdT | cyMPO | cyCD3 | cyCD79a |
| CD10 | CD20 | CD45 | CD19 |
| CD2 | CD5 | CD45 | CD7 |

| AML PANEL (4-colors) |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| CD33 | CD13 | CD45 | CD34 |
| HLA-DR | CD64 | CD45 | CD14 |
| cyTdT | cyMPO | cyCD3 | cyCD79a |

| ALL PANEL (4 colors) |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| HLA-DR | CD38 | CD45 | CD34 |
| CD10 | CD20 | CD45 | CD19 |
| CD2 | CD5 | CD45 | CD7 |
| cyTdT | cyMPO | cyCD3 | cyCD79a |

#### TESTING PROTOCOLS FOR LEUKEMIA AND LYMPHOMA CASES IN THE SCPMG FLOW CYTOMETRY LABORATORY

| Hairy Cell Leukemia Panel 4-color |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| KAPPA | LAMBDA | CD19 | CD20 |
| CD103 | CD25 | CD19 | CD5 |
| FMC7 | CD22 | CD3 | CD11c |

| T/NK ALL PANEL (4-color) |  |  |  |
| --- | --- | --- | --- |
| FITC | PE | ECD | PC5 |
| CD2 | CD5 | CD45 | CD7 |
| CD8 | CD4 | CD3 | CD7 |
| CD57 | CD56 | CD3 | CD2 |
| cyTdT | cyMPO | cyCD3 | cyCD79a |

| ##### Interpretation |  |
| --- | --- |

Not applicable for this procedure.

| ##### Reporting and Documentation |  |
| --- | --- |

Not applicable for this procedure.

| ##### Controlled Document |  |
| --- | --- |

- Daily Maintenance and Inspection Form for Centrifuge Silencer 2200R.

- LAMC-PPP-0123: Safety Practices.

- LAMC-PPP-0128: Universal Body Substance Precautions (UBSP)

- LAMC-PPP-0132: Handwashing Policy.

- LAMC-PPP-0127: Infection Control.

- LAMC-PPP-0129: Handling Regular and Infections Waste.

- LAMC-PPP-0130: Cleaning Work Areas.

- LAMC-PPP-0578-Processing, Transport, and Requirements of Flow Cytometry Specimens.

#### TESTING PROTOCOLS FOR LEUKEMIA AND LYMPHOMA CASES IN THE SCPMG FLOW CYTOMETRY LABORATORY

| ##### Uncontrolled Document |  |
| --- | --- |

Kussick, S. J., and Wood, B.L. (2003). Four-color flow cytometry identifies virtually all cytogenetically abnormal bone marrow samples in the workup non-CML myeloproliferative disorder. American Journal of Clinical Pathology, 120, 845-865.

Kussick, S.J. and Wood B.L. (2003) Using 4-color flow cytometry to identify abnormal myeloid populations. Arch Pathol Lab Med, 127, 1140-1147.

Author: Giovanni B. Garcia, MBA, MT(ASCP), CLS