#### STAT AND EMERGENCY TEST RESULTS

| ##### Purpose | To establish guidelines for requesting and receiving test result on an emergency or STAT basis. |
| --- | --- |

| ##### Policy | Test results may be requested on a stat or emergency basis under the following conditions: - When definitive treatment cannot be initiated without such test results and a delay in treatment would pose a serious risk to the patient. - When the patient's condition is not stable and/or timely therapeutic response must be made to changes in the patient's clinical status, if any. - When the determination of the patient's readiness for discharge is dependent upon specific clinical test results. Test results requested on an emergency or stat basis must be given, electronically sent or phoned to the nursing unit, medical office module or Emergency Department within the established turn around time. When a CLS notifies the STAT results verbally or via telephone, he/she must document his/her full name, date, time and full name of recipient of information electronically in the system. In addition, a "read back" must be initiated by asking the receiver of the STAT result(s) to read back the information. Documentation must be done with a statement "Read Back Confirmed" in order to confirm the read back process. Test requests for which results are required on an emergency or stat basis must be ordered in the computer with a STAT priority. Transporting Inpatient Specimens All inpatient STATs must be delivered to the Main Laboratory separation area within 10 minutes of the time of collection. Transporting Outpatient Specimens All outpatient STATs must be delivered to the Main Laboratory separation area within 10 minutes of the time of collection. |
| --- | --- |

Continued on next page

STAT AND EMERGENCY TEST RESULTS, Continued

| ##### STAT Test Turn Around Time | The STAT Test Turn Around Time is presented in the table below. The time indicated below represent the specimen receipt time in the laboratory to result completion. |
| --- | --- |

| TEST | TAT |
| --- | --- |
| Electrolytes | 30 minutes |
| Chem 7 | 30 minutes |
| All other Chemistry tests | 30 minutes |
| PT/PTT | 30 minutes |
| D-Dimer | 30 minutes |
| Reticulocyte Count | 20 minutes |
| Gram Stain | 30 minutes |
| ESR | 35 minutes |
| Hgb/Hct | 15 minutes |
| Hemogram | 15 minutes |
| UA with microscopic exam | 30 minutes |
| UA w/o microscopic exam | 15 minutes |
| Mono | 15 minutes |
| CKMB | 45 minutes |
| HCG Quantitative | 35 minutes |
| Therapeutic Drugs | 35 minutes |
| Wet Mount | 30 minutes |
| Pregnancy Test (Urine) | 15 minutes |
| CBC with Manual Diff. | 30 minutes |
| CBC with Auto Diff | 15 minutes |
| Troponin | 35 minutes |
| Rapid COVID-19 | 45 minutes |
| Rapid Flu/RSV | 45 minutes |
| FluVID | 45 minutes |

End of page