|  |  |
| --- | --- |
|  |  |
| Purpose or Principle or Introduction | This document defines the policy for proper workflow of handling CBC samples that are severely hemolyzed due to intravascular (in vivo) hemolysis . |
|  |  |
| Scope | This policy is intended for use at all hematology departments at the medical centers, urgent care centers and regional laboratories. |
|  |  |
| Policy | When you encounter severely hemolyzed samples, this is the workflow to resolve the issue.* If first draw is hemolyzed – ask the collector how the blood was collected (syringe, vacutainer, IV start, needle size, hard draw, etc.)
* Perform a redraw by a laboratory staff once information from first specimen is known.
* If the repeat specimen that was carefully and properly collected is still hemolyzed, the CLS will contact the nurse/physician and find out more about the patient. There should be some discussion about the clinical picture of the patient. If there is a suspicion of sepsis or other reasons for hemolysis (incompatible IV fluid, amniotic fluid embolism, thermal burns, hemolytic transfusion reactions – acute or delayed), the CLS will discuss with the physician the potential for inaccurate results. Depending on the physician’s response, contact a pathologist if needed (even if it is at night) to discuss the case.
* If provider insist on reporting available results: You can report **WBC, Differential, HGB, and PLT-F for Sysmex sites and a Platelet Estimate for the DxH sites**, add a disclaimer below:

“Specimen is extremely hemolyzed; Phlebotomy induced hemolysis ruled out; Intravascular hemolysis cannot be ruled out, correlate with clinical picture.”* Check also for:
* Previous Cellavision images – if there’s previous samples, check for presence of schistocytes.
* UA sample – check for presence of HGB in urine.
* Finally, recommend that these cases be reviewed by the pathologist if not discussed with them prior to release of results.
 |
|  |  |
|  |  |
| Author(s) | Marilou Buquid, CLSAntonio Pading, CLSJulius Salomon, CLS |
|  |  |