#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER

| ##### Purpose & Principle |  |
| --- | --- |

- This procedure describes the steps in performing cell surface marker study (immunophenotyping) is performed from whole blood, bone marrow aspirate, effusion, solid tissue cell suspension, or other body fluids using panel of monoclonal antibodies conjugated with fluorochromes such Fluorescein Isothiocyanate (FITC), Phycoerythrin, (PE), Phycoerythrin-Texas Red® X (ECD), Phycoerythrin-Cy5 (PC5).

- Viable cell suspension is incubated with specific monoclonal antibodies, with their respective isotype control, and antigens on the surface of the cell will react with the presence of their respective antibodies. The red cells are lysed with ImmunoPrep® and the sample is acquired and analyzed using Navios cytometer.

- The Navios is an instrument for phenotyping surface markers of white blood cells. The scatter plots of cells are measured and analyzed as cells pass through one LASER beam in a single-fine using the method of hydrodynamic focusing.

| ##### Policy |  |
| --- | --- |

- Navios Flow cytometer shall be used for flow cytometry data acquisition and analysis of bone marrow, peripheral blood and other body fluids.

Work Place Safety:

All laboratory employees are expected to maintain a safe working environment and an injury-free workplace. Laboratory employees are responsible for their own safety, the safety of others and adhering to all departmental and medical center safety policies and procedures.

- For standard precautions and safety practices in the laboratory; see LAMC-PPP-0123, specifically, but not limited to, equipment safety, proper body mechanics, sharps exposure and proper use of personal protective equipment (PPE).

- For Universal Body Substance precautions, see LAMC-PPP-0128, specifically, but not limited to, exposure to body fluids.

- For proper handwashing, see LAMC-PPP-0132, specifically, but not limited to, proper handwashing.

- For proper infection control, see LAMC-PPP-0127, specifically, but not limited to, proper use of gloves.

- For proper handling of regular and infectious waste, see LAMC-PPP-0129, specifically, but not limited to proper disposal of regular and biohazardous waste.

- For proper cleaning of work area, see LAMC-PPP-0130 - Cleaning Work Areas.

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

| ##### Specimen Requirement |  |
| --- | --- |

- Use cell suspension or body fluid less than 48 hours old.

- K3EDTA blood – 5m. ACD and heparin is acceptable of if EDTA anti-coagulated specimen is not available.

- Sodium heparinized bone marrow aspirate – 1-2ml. Wash once with Modified PBS before processing.

- Effusion (pericardial, pleural, or peritoneal) treated with anticoagulant. 10 to 2 ml.

- Cell suspension of washed or mashed solid tissue in cell media. 5 to 10ml.

- Body fluid (such as CSF, synovial, etc.), untreated – 2.5 ml. If bloody, add anticoagulant.

- Obtain WBC count, if available.

- Maintain and transport specimen at room temperature (18-22 0C) in a leak-proof container. Avoid temperature <10 0C and >37 0C.

- Take note on the worksheet and report on the form if the following occur:

- If the specimen is hot or cold but not obviously hemolyzed or frozen.

- If the specimen is hemolyzed or frozen.

- If clots are visible.

- If the specimen is >48 hours old at the time it arrives at the laboratory.

- Do viability testing. Refer to LAMC-PPP-0570.

| ##### Reagent, Materials and Equipment |  |
| --- | --- |

Reagents:

- Deionized Water

- Bleach

- IsoFlow Sheath Fluid, Beckman Coulter, PN 8547008

- Coulter Clenz cleaning agent, PN 8546930

- Phosphate buffered saline, pH =7.4. Sigma Catalog # P-3813

- Preparation:

| Step | Action |
| --- | --- |
| 1 | Take 1 packet (foil pouch) and dissolve in 1 liter of deionized water. Yield: 0.01 M PBS pH= 7.4 |
| 2 | Store in 1 liter amber dispenser at room temperature. |

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

- Ammonium Chloride 500g Sigma-Aldrich Catalog number: 213330-500g.

- Potassium bicarbonate 327205 Sigma-Aldrich Catalog Number: 237205-500g

- Ethylenediaminetetraacetic acid tetrasodium salt.

- Orion Buffer (USA)

  - pH buffer, Orion 910104, Thermofisher

  - pH 7.00 buffer, Orion 910107, Thermofisher

  - pH10.01 buffer, Orion 910110, Thermofisher

  - pH Electrode Storage Solution, Orion 910001, Thermofisher

  - Distilled water

- Modified wash media:

- Preparation: (Prepare weekly)

| Step | Action |
| --- | --- |
| 1 | Take 500 ml of RPMI 1640-500 (Irivine Scientific Catalog # 9161 500ml) |
| 2 | Weigh 5grams of Albumin crystals from Bovine serum (Sigma, Catalog # A7906-50G) |
| 3 | Dissolve 5 grams of Albumin crystals in to 500ml of RPMI 1640. |

- Albumin bovine 22% solution, 50 ml. Sigma A-7034 (Store at room temperature)

- Materials:

- Polyproplylene tubes 12X75mm., FisherScientific, Catalog # 14-959-5

- Disposable plastic centrifuge, 15ml., FisherScientific, Catalog # 35-2099

- Disposable Petri dishes, size 100 x 15mm., FisherBrand Catalog # 08-757-12

- Pipette Eppendorf

- Pipet tips (Finntip ® 250 Universal) Catalog # 9400260

- Transfer pipette, 1ml Graduated, FisherScientific, Catalog # 13-711-9A

- Test tube racks.

- Equipment:

- Beckman Coulter Navios flow cytometer

- Beckman/Coulter TQ Prep

- Beckman Refrigerated Centrifuge

- Vortex Mixer

- Nuare Biosafety Cabinet

- Non-CO2 Incubator at 370C

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

| ##### Quality Control |  |
| --- | --- |

See associated Standard Operating Procedures:

- Daily Start-up Procedure for Navios Flow Cytometer, LAMC-PPP-0535

- Quality Control Procedure for Navios Flow Cytometer, LAMC-PPP-0537

- Shutdown Procedure for Navios Flow Cytometer, LAMC-PPP-0536

- Navios Flow Cytometer, Preventive Maintenance, LAMC-PPP-0541

How to perform Auto Setup Schedule to set for instrument setting on lymphoma/leukemia  panels.

Note: Perform the following steps after running Flow Check bead and AutoSetup procedure for 4-color T-cell enumeration.

| Step | Action |
| --- | --- |
| 1 | From the Main menu, click on Tools and choose AutoSetup Scheduler. |
| 2 | From AutoSetup Scheduler window, choose AS Leuk In House Cocktail. |
| 3 | Enter carousel number and click on Schedule. |
| 4 | The instrument will acquire AutoSetup tubes. |

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

How to obtain quality control results from AutoSet-up procedure for lymphoma/ leukemia panels.

| Step | Action |
| --- | --- |
| 1 | From the main screen, click on Report Generator located at the bottom left of the CXP software screen or RG at the bottom right of the main screen. |
| 2 | Click on LJ icon (leftmost icon) of the Report Generator tool bar. |
| 3 | To display LJ charts: Click on Template, and Select template, and choose AS 4C Leuk In House cocktail_ (the LJ of Verify tubes) click Open. Select template, and choose: AS 4C Leuk-lymph cocktail Flow (for LJ of Flow Set 4C) |
| 4 | Instrument will display current LJ chart. Check for outliers. |
| 5 | Click Data table and inspect numerical values of outliers. |
| 6 | If outliers are present, close Data table. Point and click on the outlier on the LJ chart. |
| 7 | Type in action taken “to repeat” and click Save Comment. |
| 8 | Repeat AutoSetup procedure. |
| 9 | If all quality control data are within limits, go the LJ chart, repeated quality control item and type in “repeated” and click Save Comment. |
| 10 | Exit the Report Generator window. |

| ##### Procedure: |  |
| --- | --- |

- Sample preparation for testing:

For bone marrow specimen and peripheral blood: To ensure ideal flow rate, the WBC     count should be from 5,000 to 10,000 cells/cu mm.  WBC above 15,000 requires adjustment

of the cell concentration to an appropriate level.

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

| WBC COUNT | DILUTION (with PBS) |
| --- | --- |
| 15,000 up to 30,000 | 1:2 |
| 30,000 up to 40,000 | 1:3 |
| 40,000 up to 60,000 | 1:5 |
| 60,000 up to 100,000 | 1:6 |
| 100,000 up to 200,000 | 1:10 |
| Above 200,000 | - 1:20 |

- Sample preparation: Other body fluid or suspension:

| Step | Action |
| --- | --- |
| 1 | Transfer the sample to a labeled plastic centrifuge tube. |
| 2 | Wash sample, once, with wash media and centrifuge for 5 minutes at 3000 RPM. |
| 3 | Resuspend the sample in 5ml. of wash media and incubate at 370C for 30 minutes. |
| 4 | Layer sample over 1ml of 22% albumin solution in a labeled 15ml centrifuge tube and centrifuge for 5 minutes at 3000 RPM. |
| 5 | Wash cell suspension again with modified wash media and resuspend in 2 ml of modified wash media. |
| 6 | Obtain cell count and adjust to 10 million cells/ml. |

Hairy Cell Leukemia Panel:

| - FITC | - PE | - ECD | - PC5 | - Stain (volume) |
| --- | --- | --- | --- | --- |
| - CD103 | - CD25 | - CD19 | - CD5 | - 6ul each |
| - FMC7 | - CD22 | - CD3 | - CD11c | - 6ul each |

- Note: CD Chex 103 cells is used as positive control for CD103.

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

Quality Control:

Ammonium Chloride performance as lysing agent must be check before lysing

Patient samples. The amount of time it takes to lyse red cells is measured. The

| Step | Action |
| --- | --- |
| 1 | Pipet 2-3 ml of sample (normal peripheral blood) in to a 15 ml conical tube. |
| 2 | Add 10 ml of freshly prepared NH4Cl (1X) |
| 3 | Mix the specimen after adding the lysing agent and start timing for 7 minutes. |
| 4 | Check for completeness of erythrocyte lysing, by holding a printed page, and when the print can be read through the tube, then the lysis is complete. |
| 5 | Document the completeness of erythrocyte lysing by using a “NH4Cl pH Reading and Completeness of Erythrocyte Lysing” form. |

lysis time of erythrocyte must be complete within 7 minutes after addition of

Ammonium Chloride.

How to make 1X Ammonium Chloride solution:

| Step | Action |
| --- | --- |
| 1 | Make 1:10 Dilution of Lysing solution (NH4Cl) Add 9 volumes of de-ionized water to a 10X volume of stock solution. Do not refrigerate. |
| 2 | The 1X NH4Cl working solution surplus must be discarded after expiration date. Use adjust pH to 7.4.± 0.1. |

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

How to stain specimen (Hairy Cell Panel)

| Step | Action |
| --- | --- |
| 1 | Lyse 2-3 ml of specimen using 10ml of 1X NH4Cl (working solution) for 7 minutes. |
| 2 | After 7 minutes, centrifuge lysed specimen for 5 minutes at 1500rpm. |
| 3 | Decant and add 10 ml of 1X NH4Cl, centrifuge for 5 minutes at 1500rpm. Note: For specimen with weak or suspicious monoclonal population (to further block extrinsic or cytophilic immunoglobulin staining) after step #3, add 3 drops of 22% Albumin, and incubate suspension of cells in water bath (37 degrees Celsius) for 20 minutes. |
| 4 | Add 10 ml of PBS and vortex. |
| 5 | Wash cells with PBS 5 minutes at 1500rpm, decant and add 1 ml of RPMI. |
| 6 | Filter lysed samples using 210um filter to remove large tissue aggregates. |
| 7 | Obtain initial count of WBC and viability: - Add 100ul and 0.5ml of 50ugm/ml of Propidium Iodide solution. - Incubate for 5 minutes. - Run viability using Navios Flow Cytometer - adjust cell concentration to 5 to 10 cells x 103 cells/cumm. |
| 8 | Label round bottom tubes (12x75mm) |
| 9 | Add titered amount of (4-color Mab Panel) into each tube. (see table above) |
| 10 | Add 100ul of sample from Step 8 into each tube. |
| 11 | Incubate for 20 minutes |
| 12 | Add 2ml of PBS or 1X NH4Cl. |
| 13 | Centrifuge tubes using Serofuge Clay Adams 2002 for 2 minutes. |
| 14 | Decant and add 0.5ml of PBS. |
| 15 | Run samples using Navios Flow Cytometer. |

|  | Acquire and analyze sample using the Navios cytometer. Note: After lysing, analyze with flow cytometer. Inspect the histogram for complete lysis of red blood cells. Otherwise, re-stain cells. |
| --- | --- |

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

- Acquisition and analysis of specimen using Navios cytometer.

| Step | Action |
| --- | --- |
| 1 | At Resource explorer, click on the panel icon. |
| 2 | Click on BT Lab folder. |
| 4 | Scroll file list and look for the appropriate panel. |
| 3 | Drag desired panel into the Acquisition Manager. Check to make sure the proper combination of reagents is in the panel list, otherwise modified the list. |
| 4 | Enter carousel number into the Carousel No. column. |
| 5 | Enter specimen BT lab number in the Sample ID column. |
| 6 | Open MCL cover, and load the carousel to be acquired and analyzed. Close carousel cover. |
| 7 | For optimization of sample acquisition of isotype control, press F9. See next section for details on sample optimization. |

- Optimization of sample detector settings:

| Step | Action |
| --- | --- |
| 1 | Optimization of isotype control tube: Click on Cytometer from the main menu, click on Cytometer Control, and click on Setup Mode. |
| 2 | To optimize detector settings, click on the Detector tab from the cytometer control, click on Volts of parameter to be adjusted. |
| 3 | Slowly adjust up or down voltage of the parameter until optimal setting is reached. |
| 4 | Adjust gate A to encompass mononuclear population. |
| 5 | Inspect the positions of the quadrant markers from all windows; adjust if necessary. |
| 6 | After the three elements are adjusted: optimal settings of detectors, gate of the mononuclear cells (Gate A), and placement of quadrant markers, click on Acq. Setup tab and deselect Setup Mode. |
| 7 | Press F9 to acquire samples. Note: All protocols incorporated in the panels have stop criteria: 5000 lymphocytes in the gate or 300 seconds acquisition time. Acquire samples until criteria is met. |
| 8 | Continue to acquire subsequent tubes, and during acquisition, check for gating consistency and optimal placement of quadrant markers. Note: For underlyzed samples, re-stain and re-acquire samples. |

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

- Retrieval and re-analysis of LMD files.

| Step | Action |
| --- | --- |
| 1 | At the Resource Explorer window, click LMD icon, click on BT lab folder. |
| 2 | Select desired file from the file list and drag the file into the empty space of the Acquisition Manager. |
| 3 | To adjust gate size: a) Click on the maximize window located on the upper right portion of the window. |

| 3 | - Use the mouse and double click on the any portion of the gate. - To increase the gate size, find and drag a little square outside the gate and drag it way from the gate until the desired size of the gate is reached. - To decrease the gate size, drag the little square towards the center of the gate until desired gate size is reached. - Click Restore down to return to original size of the window. |
| --- | --- |
| 4 | To adjust the quadrant marker(s): - Click on the quadrant market window. - At the intersection of the quadrant marker, adjust the markers to the desired quadrant marker position. |
| 5 | To adjust the histogram marker(s): a) Point the left most side of the histogram marker and drag the leftmost portion of the histogram marker to its desired position. |
| 6 | Click on the flow page window at the main menu. |
| 7 | To print the re-analyzed file, click the print icon from the main menu. |

| ##### Interpretation |  |
| --- | --- |

- Print-outs of immunophenotyping histograms shall be submitted to the assigned pathologist for interpretation of flow cytometry results together with accompanying sample slides.

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

| ##### Reporting and Documentation |  |
| --- | --- |

- To detect clerical errors, analytical, and unusual laboratory results, a CLS aside from the one who acquired and analyzed the data from the cytometer, will review histogram and immunophenotying results. The CLS who reviewed the results shall initial the worksheet containing the immunophenotyping report before release from the laboratory.

- Assigned Hematopathologist may consult with Medical Director of Flow Cytometry to  review unusual histograms and suggest resolution of flow cytometric issues.

- Print-out of immunophenotyping histograms shall be submitted to the assigned pathologist together with accompanying stained slides.

- Results of the percentage positivity of monoclonal antibodies may be reported through the telephone or faxed to the assigned pathologist upon his/her request.

| ##### Controlled Document |  |
| --- | --- |

- LAMC-FORM-0090 Lymphoma/Leukemia Daily Quality Control.

- LAMC-FORM-0105 Flow Set Navios 4C

- LAMC-PPP-0123: Safety Practices.

- LAMC-PPP-0128– Universal Body Substance Precautions (UBSP).

- LAMC-PPP-0132: Handwashing Policy.

- LAMC-PPP-0127: Infection Control

- LAMC-PPP-0129: Handling Regular and Infections Waste.

- LAMC-PPP-0130: Cleaning Work Areas.

| ##### Uncontrolled Document |  |
| --- | --- |

- Bertie, L.M., Charlton, B.J., Kirkley, B., Schiffgens, J., Wilson, J.I. & Woodcock, S.M., Clinical Laboratory Technical Procedure Manuals; Approved Guideline—Fourth Edition. Clinical Laboratory Standards Institute. Vol 22, Number 5. Retrieved November 17, 2005.

- http://flowsite.hitchcock.org/procman/

- Navios Flow Cytometer System PN A 96247AA Beckman Coulter Inc. 2013

#### 4-COLOR CELL SURFACE MARKER STUDY (LYMPHOMA IMMUNOPHENOTYPING) BY FLOW CYTOMETRY USING NAVIOS FLOW CYTOMETER, continued

- Staining Procedure Section (November, 1999) Cyto-Stat Coulter CloneProduct Insert T4-RD1/T8-FITC, Beckman Coulter, Miami, Florida

| ##### Self Assessment |  |
| --- | --- |

- The incubation time after addition of cells to the monoclonal antibodies:

- 30 minutes

- 20 minutes

- 5 minutes

- Files to be re-analyzed can be found from:

- BT Lab folder from the list in the LMD icon.

- Common folder from list on the LMD icon.

- Common folder from list on the Histogram icon.

- For sample acquisition optimization, gate adjustment can be accomplished by:

- Double click any portion of the gate and use an outside square (vertex) to adjust the size of the gate.

- Double click any portion of the gate and use any vertex of the polygonal gate.

- Click on any portion of the gate and use any vertex of the polygonal gate.

- For sample optimization before acquisition, name three essential elements that need to be inspected and adjusted.

- Detector settings, gate on mononuclear cells, and position of quadrant markers.

- Detector settings, gate on mononuclear cells, and position of histogram markers.

- Detector settings, gate on the granular cells, and position of quadrant markers.

- Author: Giovanni B. Garcia, MBA, MT (ASCP), CLS