- FECAL WRIGHT’S STAIN

| - METHOD | Manual |
| --- | --- |

| - PRINCIPLE | Fecal material is stained with Wright's stain and observed microscopically for the presence of white blood cells. |
| --- | --- |

| - MATERIALS & REAGENTS | Ames Hema-Tek Slide Stainer Hema-tek Stain Pak Microscope Glass microscope slides |
| --- | --- |

| - SPECIMEN | Fecal material (stool) |
| --- | --- |

| - SAFETY | All specimens should be handled as though capable of transmitting infectious diseases. Wear appropriate personal protective equipment when running patient samples or performing scheduled maintenance. Refer to: Policy and Procedures Safety Manual Infection Control and Procedures 11-030-01 Continued on next page |
| --- | --- |

| - PROCEDURE | - Place a small fleck of mucus or a drop of liquid stool on a glass microscope slide. - Allow the specimen to air dry. - Stain slide with Wright's stain on Ames Hema Tek slide stainer. - View the slide under oil immersion lens (100X) and report any white cells seen as follows: A. No WBC'S seen. B. Few WBC'S seen = 1-5 cells/oil immersion field. C. Moderate WBC'S seen = 6-10 cells/oil immersion field. D. Many WBC'S seen = >10 cells/oil immersion field. |
| --- | --- |

- RESULT REPORTING

For detailed instructions of entering results, please refer to Laboratory Informatics – Cerner Genlab Policies & Procedures Manual, “Result Entry in the Microbiology Module” LIS.SCPMG.005 document.

- EXPECTED RESULTS

No WBC’s seen.

- REFERENCE

Todd - Sanford - Davidson Clinical Diagnosis and Management by Laboratory Methods, John Bernard Henry, MD, W.B. Saunders Company 1974, pp. 788.

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Major | Updated procedure, added the safety, result reporting and expected results section to reflect the changes for new LIS, Cerner. | Julius Salomon 04/14 |  |  |  |

Imp. =Implemented