#### FETAL HEMOGLOBIN (APT TEST)

| ##### METHOD | APT - Downey |  |
| --- | --- | --- |

| ##### PRINCIPLE | - The test is based on the alkali resistance of fetal hemoglobin found in feces and gastric contents of bleeding newborn infants and serves to differentiate - it from maternal blood. |  |
| --- | --- | --- |

| ##### SAFETY | - All reagents and controls should be handled as though capable of transmitting infectious diseases. Wear appropriate personal protective equipment when running patient samples or performing scheduled maintenance. - Refer to Laboratory Policy and Procedure Manual Safety Section (11). |
| --- | --- |

| ##### REAGENTS | - 1% sodium hydroxide. |  |
| --- | --- | --- |

| ##### CONTROLS | Positive Control: Baby’s blood (fetal hemoglobin) remains pink. Negative Control: Mother’s (adult hemoglobin) blood will change from pink to light brown. |  |
| --- | --- | --- |

| ##### PROCEDURE |  |  |
| --- | --- | --- |

| Step | Action |
| --- | --- |
| 1. | Mix the material to be tested with water about 1:10 to lyse the red cells. If the specimen appears like whole blood, use a higher dilution (approx. 1:20) to ensure detection of color change after step 4. |
| 2. | Centrifuge the mixture. Separate the pink supernatant, and filter. |
| 3. | Mix 1 ml 1% sodium hydroxide with 5 ml hemoglobin solution. |
| 4. | After 2 minutes incubation at room temperature, examine. |
| 5. | Controls of mothers and infants blood specimens should be run. Make a 1:20 dilution of whole blood with water to lyse the red cells. Procede with step 2. |

Continued on next page

| ##### RESULT INTERPRETATION AND REPORTING | - Adult hemoglobin changes from pink to light brown. Report as NEGATIVE: No fetal hemoglobin not detected. - Fetal hemoglobin remains pink. Report as POSITIVE: Fetal hemoglobin detected. - Results are manually entered in Cerner under the Accession Result Entry (ARE) mode. For detailed instructions of entering results, please refer to Laboratory Informatics – Cerner Genlab Policies & Procedures Manual, “Resulting in Cerner GenLab: Manual Entry Module” LIS.SCPMG.041 document. |  |
| --- | --- | --- |

| ##### REFERENCE | Bray's Clinical Laboratory Methods, 7th Ed., p. 170. |  |
| --- | --- | --- |

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Minor | Added additional information regarding Positive and Negative | Charlie Park 11/13/12 |  |  | 11/13/12 |
| Major | Updated resulting section to reflect the changes for new LIS, Cerner. | Julius Salomon 04/15/14 |  |  |  |

Imp. =Implemented