#### LAMELLAR BODY COUNT (FETAL LUNG MATURITY)

| ##### INTENDED USE | Lamellar body count is useful for predicting fetal lung maturity and assessing the risk of developing neonatal respiratory distress syndrome, when performed during 32 to 39 weeks gestation. |
| --- | --- |
| ##### MATERIALS & REAGENTS | Sysmex XE-2100 Plain red top tube (5 ml) |
| ##### SAFETY | All specimens should be handled as though capable of transmitting infectious diseases. Wear appropriate personal protective equipment when running patient samples or performing scheduled maintenance. Refer to: Policy and Procedures Safety Manual Infection Control and Procedures 11-030-01 |
| ##### SPECIMEN | Amniotic fluid |

| ##### PROCEDURE | Lamellar body particles from amniocentesis are measured directly on the Sysmex XE-2100. Many of the lamellar body surfactant particles are from 2 to 20 fl. in volume, an interval that is commonly used to enumerate and size platelets in whole blood. Reject specimens contaminated with meconium, blood or those containing readily apparent mucus. Notify physician. Send for PG, if PG absent, do LS ratio. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1. | Invert the amniocentesis tube five times and transfer to 5 ml plain red top (no additive) tube. Replace cap. |
| 2. | Manually run 2 tubes of cell-pack before analyzing the amniotic fluid. |
| 3. | Manually run the amniotic fluid. |
| 4. | Print the results. The platelet count represents the lamellar body count. |

| ##### RESULTS Interpretation of results: ##### REPORTING |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Review the lamellar body count and hematocrit and determine which action you need to take |  |  |  |
|  |  | IF | THEN |  |
|  |  | LBC >/= 50 x 103 & HCT <1% | Consider Fetal Lungs mature. Report LBC in Cerner. |  |
|  |  | LBC >/= 50 x 103 & HCT > 1% | Report LBC in Cerner, ask the provider to place an order for LS/PG in Health Connect then send the specimen to UCI. |  |
|  |  | LBC < 50 x 103 | Report LBC in Cerner, ask the provider to place an order for LS/PG in Health Connect then send the specimen to UCI. |  |
| 2. | If amniotic fluid needs to be sent to UCI, give the order and amniotic fluid to the staff assigned in processing. Be certain to indicate test that needs to be performed. |  |  |  |

Results are manually entered in Cerner under the Accession Result Entry (ARE) mode.

For detailed instructions of entering results, please refer to Laboratory Informatics – Cerner Genlab Policies & Procedures Manual, “Resulting in Cerner GenLab: Manual Entry” LIS.SCPMG.041 document.

| ##### IF ORDER IS ##### ON A ##### DIABETIC ##### PATIENT | Send specimen to UCI with the following instructions: “PG; IF PG NEGATIVE DO L/S RATIO” |
| --- | --- |

| ##### REFERENCE | Obstetrics and Gynecology Volume 97 #2 Feb 2001 Page 318-320. |
| --- | --- |

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Major | Updated format and procedure, added the materials/reagents, safety, specimen and result reporting section to reflect the changes for new LIS, Cerner. | Julius Salomon 04/14 |  |  |  |

Imp. =Implemented