#### SLIDE REQUEST FOR PATHOLOGY REVIEW

| ##### POLICY | These smears must be referred to the Pathologist for review. A stained slide and a copy of the results are sent to the Pathology Department. The pathologist will review the smear the next working day or immediately if paged by the provider. (Order for “Blood Smear, Peripheral, Interpretation by Physician with Report” [HC 85060K] is orderable in Health Connect by the provider). Peripheral blood smears with blasts (unknown cases), unidentifiable cells or have met criteria for path review will be referred to the pathologist for review. CSF or body fluid smears with blasts, atypical cells, or unidentifiable cells must be referred to the pathologist for review. |
| --- | --- |

| - SAFETY | All specimens should be handled as though capable of transmitting infectious diseases. Wear appropriate personal protective equipment when running patient samples or performing scheduled maintenance. Refer to: Policy and Procedures Safety Manual Infection Control and Procedures 11-030-01. |
| --- | --- |

| ##### PROCEDURE | Step; Action. 1.; Print a copy of the CBC result.. 2.; The slide to be submitted must have two identifiers on the smear, patient’s full name (first and last) and medical record number. Enter the stained slide into Cellavision. After the PBS images have been saved in Cellavision, place the stained smear in an envelope.. 3.; Completely fill out “Request for Pathologist’s Review” slip or send a copy of the requisition.. 4.; Place everything in a biohazard bag and send to Pathology.. 5.; Once reviewed by pathologist, Hematology CLS will enter the pathologist’s comments by manually entering the results in Cerner under Accession Result Entry (ARE), then CORRECTION mode. Enter the results in the comment section, then VERIFY.. 6.; File in the Pathology Review binder.. |
| --- | --- |

Kaiser permanente

Irvine Medical Center Laboratory

Request for Pathologist's Review

Patient's Name: _________________________________________________________

Medical Record: ________________________________________________________

Accession No: __________________________________________________________

(Attach a copy of peripheral smear report and smear slide)

Reason for request:

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

______________________________________________________________________

Requested by ___________________________Date____________________________

Pathologist Review: ____________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Reviewed by: __________________________Date________

Signature of Pathologist

 Append CBC/Cell Count and or Body Fluid result and add Pathologist review under comment.

NOTE: If there’s any question(s) regarding Pathologist Review; clarify it first before appending any laboratory result(s).

Entered by: ______________________________Date____________________________

CLS (Print name)

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Major | Added number 5 and change forms (pathology review) | Lorie Padilla 10/26/2012 |  |  |  |
| Major | 1) Updated format. 2) Added Safety part. 3) Revised #5 in procedure to reflect current process with Cerner. | Julius Salomon 5/23/2014 |  |  |  |

Imp. =Implemented