#### ANNUAL FIRE SAFETY TRAINING

| ##### PURPOSE | To clearly define the expectations for department specific fire safety training in the Clinical Laboratory consistent with regulatory standards. |
| --- | --- |

| ##### POLICY | - Fire Safety Training must be documented for all employees to show that they have been instructed on use and response to fire alarms and to execute duties as outlined in the fire safety plan. - Employee's fire safety knowledge on the fire safety plan is tested at least once a year using the Annual Safety Training and Environmental Refresher course in KPLearn. - Fire Safety Training is tracked in the Employee tracking log with the date of completion. - Fire Safety Training for New employees is covered during the New Employee Orientation and department orientation. |
| --- | --- |

| ##### Workplace Safety | For equipment safety, proper body mechanics, sharp exposure, and other safety practices, refer to Laboratory Policy and Procedure Manual Safety Section (11). |
| --- | --- |

| ##### Fire Pull Station Location | Located right outside the laboratory next to Conference Room 13. |
| --- | --- |

| Fire Extinguisher Locations | - Right outside the door of Laboratory. - Next to the Microbiology department by the hallway. - Right outside of the laboratory (Blood bank/Dispatch) area. |
| --- | --- |

Attachment A

Kaiser Permanente						SCPMG Laboratory System

Medical Care Program					Laboratory Orange County

California Division								Document

In-service:  Fire Safety Training

Employee Name:

Date of In-service:

In-service by:

Information covered							Initial when complete

Fire Safety

- General knowledge of fire response R.A.C.E.

- Location of the closest fire alarm (pull station)

- Call 4111 for smoke or fire. Information called to the hospital operator on the location of the smoke or fire.

- Location of the nearest Fire exit door.

- Evacuation route and Meeting point location.

- Fire drills are conducted by the Safety department per quarter per shift

_______________

Fire Extinguishers

- General knowledge on how to use a fire extinguisher P.A.S.S.

- Location of the fire extinguishers

________________

Competency assessment Oral questions			PASS		NOT PASS

Supervisor review:

Date of review:

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Implemented |
| --- | --- | --- | --- | --- | --- |
| New |  | Ruby Co 9/14 |  |  |  |