|  |  |  |  |
| --- | --- | --- | --- |
| |  | | --- | | MONITORING OF BLOOD VOLUME IN  BLOOD CULTURE BOTTLES   1. Performed once each month by processer 2. Compare liquid level in 2 sets of blood culture bottles to the MIN (1ml) and MAX (10 ml) lines in the picture. 3. Record Date, Accession number, Patient location, acceptability/non-acceptability of volume, and initials on log. 4. Reviewed monthly by supervisor and unacceptable results discussed with staff.   Expected Results:  *A (Acceptable)-*Liquid level should be between the two lines  *NA*  or *U (Unacceptable)-* Liquid level either below the line or above the line  *Note: Unacceptable blood volume specimens must still be processed. Feedback will be given to specimen collectors who do not meet acceptable volumes.* | |  | |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Accession Number** | **Pt Location** | **Blood Volume**  **A or NA** | **Processer Initials** |
|  |  |  |  |  |
|  |  |  |  |  |

Reviewed by\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Comments\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Date** | **Accession Number** | **Pt Location** | **Blood Volume**  **A or NA** | **Processer Initials** |
|  |  |  |  |  |
|  |  |  |  |  |

Reviewed by\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Comments\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date\_\_\_\_\_\_\_\_\_\_\_\_

Reference: CAP REQUIREMENT MIC.22640

Blood Culture Volume

The laboratory has a system for monitoring blood cultures for adequate volume and feeding back the results to blood collectors.