- MICROHEMATOCRIT CONTROL

| - PRINCIPLE | Streck Para 4 Control is an assayed hematology control used for evaluating the accuracy and precision of manual procedures that measure blood cell parameters. |
| --- | --- |

| - MATERIALS & REAGENTS | Adams Microhematocrit Centrifuge Critoseal Damon Micro Capillary Reader Hematocrit Tubes Streck Para 4 Multi-Parameter |
| --- | --- |

| - SAFETY | All specimens should be handled as though capable of transmitting infectious diseases. Wear appropriate personal protective equipment when running patient samples or performing scheduled maintenance. Refer to: Policy and Procedures Safety Manual Infection Control and Procedures 11-085-01 |
| --- | --- |

| STABILITY | Para 4 is stable through the expiration date when stored at 2 – 10C. Once the vial has been opened then it is stable for 14 days. |  |
| --- | --- | --- |

PROCEDURE	Microhematocrit QC is done on day of use ONLY.

| Step | Action |
| --- | --- |
| 1. | Remove control vials from the refrigerator and warm to room temperature for 15 minutes before use. |
| 2. | Then mix well (do not use mixer/rocker). |
| 3. | Fill micro-hematocrit tubes (heparinized) with QC sample. |
| 4. | Wipe outside of tubes clean and immediately seal end with a modeling clay (Critoseal). |
| 5. | Centrifuge the capillary tubes for the recommended optimum packing time. |
| 6. | Read the hematocrit directly on the micro-hematocrit reader. Record QC result in the QC log. |

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| Major | 1) Updated format 2) Added the safety and materials, reagents and stability section. 3) Added procedure to reflect current process. | Julius Salomon 11/19/2015 |  |  |  |

Imp. =Implemented