| Dept. | CHEMISTRY | Policy #: |  | 04-001 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Policy/ Procedure Title | DxC800 SETUP PROCEDURE | Effective Date: |  | 05/13/16 |  |  |
|  |  | Revised Date: |  |  |  |  |
|  |  | Authorized Approval: |  | Cindy Schwartz, CLS, Area Lab Manager Jana Pindur, M.D., Laboratory Director |  |  |
| Personnel Covered: | All Chemistry Staff |  |  |  |  |  |
|  |  | Page: | 1 |  | of | 2 |

Purpose

To define daily routine requirements before processing calibrations, quality control and patient samples.

Procedure

## Pre-run Checklist

Preparation of Starting a Run:

- Check status of reagents, load if necessary.

- Check calibration status, calibrate if necessary.

- Check any backlit icons or messages on screen.  Investigate and resolve.

- Clear all sample racks from previous shift.

- Program control samples, run as often as defined by laboratory protocol.

- Program patient samples, when necessary.

- Prepare sample tubes.

References

Beckman Unicel Synchron Clinical Systems onboard IFU

www.beckmancoulter.com

Document History Page

Effective Date:

| Change type: New, Major, Minor etc. | Changes Made to SOP - describe | Signature responsible person/date | Med. Director Authorized Reviewed/Date | Lab Manager Authorized Reviewed/Date | Date change Implemented |
| --- | --- | --- | --- | --- | --- |
| Major | New | Cindy Schwartz 5/13/16 |  |  |  |