| ##### PURPOSE | The laboratory must have a mechanism for documenting and assessing problems identified during quality assessment review and discussing them with the staff. The laboratory must take corrective actions that are necessary to prevent recurrences. |
| --- | --- |
| ##### POLICY | The Quality Assessment review will be documented, reviewed, assessed for problems and the necessary corrective action taken, if required. The findings will be discussed with the staff at the time of review. Medical Center: - Quarterly QA report presented to Laboratory Director of Operation by Quality Assurance Coordinator. - Review QA findings at staff meeting - Review QA findings during Huddles - Corrective action when needed - Annual evaluation review Documentation: - Monthly QA report - Staff meeting minutes - QA Incident/Investigation Report MOB: - The findings will be discussed with staff at time of review. - During huddles Documentation: - Director MOB Checklist - Supervisor MOB Checklist - MOB Visit Checklist |

Continued on next page

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP - describe | Name of responsible person/date | Med. Director Authorized Reviewed/Date | Lab Manager Authorized Reviewed/Date | Date change Implemented |
| --- | --- | --- | --- | --- | --- |
| Minor | Regional Template revision | JUDITH REMOLAR 7/2/2018 |  |  |  |
| Minor | Removed : Twice a year and add bullet- during huddles, change manager to director of operations | Lorie Padilla 11/3/2013 |  |  |  |
| Major | Changed Med Center QA Reporting from Monthly to Quarterly. | Judith Remolar 8/31/18 |  |  |  |