| ##### POLICY | Critical values for coagulation as determined by the Kaiser Permanente Regional Laboratory are as follows: - Laboratory staff immediately notifies the patient’s licensed caregiver responsible for the patient’s care, as appropriate, whenever a critical result/value for a specified laboratory result is obtained. - The laboratory staff documents the critical result/value call in the Laboratory Information System. This documentation includes, laboratory staff’s NUID, date and time of call, first and last names or NUID of the recipient, and “readback” of the critical test result. - There is no requirement to repeat critical result/value. However, it is required to verify specimen integrity, e.g., hemolysis, lipemia, icterus, etc. before releasing the critical result/value. Refer to SCPMG.QMS-0075 Critical Results/Values. |
| --- | --- |
| ##### CRITICAL REPORTING | - Critical values are reported to the patient’s caregiver/provider, pharmacist, or Coumadin Clinic at 714-387-1754 (pager) 8-220-5403 (direct line) during normal office hours (0900 – 1745) - During afterhours (1745 – 0900), holidays and weekends, Critical values on INR, aPTT and other test ordered on Coumadin Clinics patient and outpatient are split alphabetically between the medical center pharmacies: ANAHEIM: A- L; Phone: 8-215-7500 or (714) 644-4500. IRVINE: M - Z; Phone: 8-238-7102 or (949) 279-4380. |
| CRITICAL VALUE | Analyte; Value. PT – Prothrombin Time; INR > 5.0. APTT – Non Medicated; > 68 seconds. APTT on Heparin Therapy; ≥ 150 seconds. |

Document History Page

| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Name of responsible person/date | Med. Dir. reviewed/ date | Lab Manager reviewed/ date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| new |  | Yvette Lingat 10/22/19 |  |  | 11/20/19 |

*Imp. = Implemented