## Slide 1: SafeTraceTX 4.6 Product Issue Training
Melissa Krygsman MLS(ASCP)CM SBBCM

## Slide 2: Objective
Provide instruction on how to properly issue blood products within the Blood Bank Information System (SafeTraceTX v.4.6)

## Slide 3: Related SOPs
Issue Blood and Blood Component from the Blood Bank (Reference # 6475)
SafeTrace (Blood Bank) Application (Reference # 22328)

## Slide 4: Go to Patient/Order Module

## Slide 5: Select “Product Issue”

## Slide 6: Enter Patient MRN and Search
***Use the information provided on the pick-up slip***

## Slide 7: Select Current, Active Status Patient

## Slide 8: Scan Component Information (Unit Number and Product Code)

## Slide 9: Scan PTag Barcode

## Slide 10: Check “Visual Inspection” and Click Accept

## Slide 11: Accepted Components will Drop into Components Grid

## Slide 12: Repeat for Each Component
Scan Unit Number and Product Code
Scan PTag Barcode
Check “Visual Inspection” box and Click Accept

## Slide 13: After components have been scanned, click Issue Details
***Ensure that ALL components being issued are in the Components grid prior to moving into Issue Details***

## Slide 14: Fill in Required Fields (including Sublocation and Container, if applicable)

## Slide 15: Click Issue

## Slide 16: If Prohibiting Factors Exist, review each one by clicking the hyperlink
Important to Note:
Unit number and product code will display for each unit that is affected by a prohibiting factor. There may be multiple pop-ups if multiple units have a factor.

## Slide 17: Example: VS antigen type on product is unknown

## Slide 18: Perform Override if not completed and deemed appropriate and Click Ok after Reviewing

## Slide 19: Repeat for Each Component
Click Hyperlink for each Prohibiting Factor and review the details for the prohibiting factor
If override not previously performed and it is deemed appropriate to override, perform override and document in the comment why the override was performed
Click “Ok”
ALWAYS click on the hyperlink of the factor to review the reason for the prohibiting factor. The system is designed to indicate the reasoning why.
If you do not understand the reason for the prohibiting factor, reach out to another tech or lead for consultation prior to completing the product issue process.

## Slide 20: Additional Pop-ups
Additional Pop-ups may display. Be sure to review each one to have an understanding of what may be occurring.
A common pop-up is this notification concerning PTags that were not selected for printing.

## Slide 21: Green Banner will Show Successful Product Issue
***Verify that the number of components and component types match what is being released prior to physically releasing product(s)***