#### PROCEDURE FOR THAWING PNP

#### ______________________________________________________________

| ##### Purpose | This document describes the preparation of commercial frozen Pooled Normal Plasma which is intended to be used for performing APTT mixing study, and diluting high Unfractionated Heparin sample. |
| --- | --- |

| ##### Principle Storage & Product Stability ##### Equipment ##### And ##### Reagents | APTT is routinely used to identify abnormalities in quantitative levels of plasma clotting proteins (factors) resulting from inherited or acquired factor deficiencies including anticoagulation therapy. PNP is made from a pool of healthy donor plasmas with normal factor levels, fresh frozen and cell free. This product may be used to monitor coagulation assays using citrated human plasmas. The quantitative determination of plasma UFH and LMWH levels are useful for monitoring treatment efficacy. - Storage Temperature: - 20°C (recommended storage -70°C) - Factor activity levels change at -20°C storage. PNP Factor levels within range (50-150% factor activity) are stable for several months at -20°C. PNP stored at -20°C should be used within 2 months of receipt of product. ### Blood Bank Water Bath/Plasma Thawer - Pooled Normal Plasma (PNP), George King Bio-Medical product. Continued on next page |
| --- | --- |

#### PROCEDURE FOR THAWING PNP, Continued

| ##### Procedure | Step; Action. 1; Place vial in 37°C circulating water bath or plasma thawer in blood bank for 2-5 minutes.. 2; Mix gently and keep on ice until ready for use.. 3; - Plasma should be used within 2 hours after thawing. Plasma must be discarded once thawed and used. DO NOT REFREEZE.. ______________________________________________________________ |
| --- | --- |
| ##### Quality Control | - Refer to Document NO. LCOS8070 Quality Control Process in Coagulation Department for specific guidelines for performing quality control for APTT assay. |

_______________________________________________________________

| Notes Expected Values | Cryoglobulin may precipitate if thawed in heat block, and may cause interference with the test, that is why it is important to use the water bath for preparation. ______________________________________________________________ Expected values are dependent on the instrumentation, reagents system and methodology used. Due to wide variation in these components, it is recommended that these plasmas be evaluated and quality controlled by the user for their specific system. |
| --- | --- |

___________________________________________________________________

References

### Triplett, Douglas A., MD, (ed) Laboratory Evaluation of Coagulation, Chicago, IL. American Society of Clinical Pathologists, 1982, pp. 358-361.

- Henry, John Bernard, MD, (ed) Clinical Diagnosis and Management by   Laboratory Methods, Philadelphia, PA, W.B. Saunders Co. 1984 pp. 51-92.

- Sirridge, Marjori S., MD and Shannon, Reaner, PhD, Laboratory Evaluation of Thrombosis and Hemostasis, Philadelphia, PA, Lea & Febiger, 1983 p 212

Continued on next page

#### PROCEDURE FOR THAWING PNP, Continued

| ##### Author | Richard Ulep, CLS, MT (AMT) |
| --- | --- |

| ##### Distributions | Kaiser Permanente Riverside Medical Center Laboratory |
| --- | --- |

End

#### PROCEDURE FOR THAWING PNP, Continued

Reviewed and approved by:

| SIGNATURE | DATE |
| --- | --- |
| Denise Topliff, MHA, CLS Director, Clinical Laboratory – Riverside Medical Center |  |
| Dong Quach, M.D. Medical Director, Clinical Laboratory – Riverside Medical Center |  |

#### PROCEDURE FOR THAWING PNP, Continued

#### Effective Date: 12/20/2012

| Change type: New, major, minor | Changes made to SOP - describe | Signature responsible person/date | Medical Director review/date | Laboratory Director review/date | Date change implemented |
| --- | --- | --- | --- | --- | --- |
| New | New | Richard Ulep | Dr Dong Quach | Denise Topliff | 12/20/12 |
| Minor | Revised Title, Purpose, Principle, Storage & Product Stability. Notes added. New Template | Richard Ulep | Dr Dong Quach | Denise Topliff |  |