| # Purpose | This process describes how to perform saline replacement, in the presence of rouleaux, This procedure allows the detection of antibodies (ABO, or other red cell antibody) otherwise masked by the rouleaux. |
| --- | --- |

| # Policy | - The saline replacement procedure is performed when there is a microscopic observation of stacked coins as characteristic of rouleaux. - Saline replacement is performed only in the tube method, not in gel method. Note: Refer to Reading and Grading Tube and Gel Agglutination for definitions of rouleaux. |
| --- | --- |

| # Equipment / Supplies | - Centrifuged serologic tests for agglutination - Agglutination viewer - Test tubes - Pipettes |
| --- | --- |

| # Reagents | Reagent | Manufacturer |
| --- | --- | --- |
|  | - All manual testing reagents, to include ABO, Rh, rare antisera etc. | Ortho Clinical Diagnostics |
|  | - Normal saline or Phosphate buffered saline |  |

| # Procedure | # The following steps below describe the procedure for saline replacement: |  |
| --- | --- | --- |
|  | # Step | # Action |
|  |  | After the tests have been performed using standard of operating procedure, and the reactions have been determined to be the result of rouleaux as suspected by the appearance of stacked coins, (room temperature reactions only), recentrifuge the tube. |
|  |  | Decant the serum / plasma, leaving the red cell button |
|  |  | Gently replace the serum with an equal amount of saline (usually 2 drops). |
|  |  | Gently resuspend the red cell button and observe for agglutination. |
|  |  | Record results. |
|  |  | Continued on next page |

| # Interpretation | # The following steps below describe how to interpret the results from the saline replacement test: |  |  |
| --- | --- | --- | --- |
|  | # Step | # Action |  |
|  | # 1 | # Positive | # If the cells no longer appear like a stack of coins, but appear as agglutination, # The test result is positive for hemagglutination and further testing may be indicated. |
|  |  |  | # If the cells continue to appear as a stack of coins, # repeat the process above one more time. |
|  | # 2 | # Negative | # If the agglutination is dispersed, # the saline has successfully dispersed the rouleaux and: # the test can be called negative. ## Enter a comment in test results that the sample had rouleaux and was negative with saline replacement. |

| # Method Performance Specifications | - In some instances, simple dilutions of serum/plasma 1:3 with saline is sufficient to prevent rouleaux and to detect ABO isoagglutinins - Review of the patient’s recent medical history and other laboratory results may be helpful (e.g. history of multiple myeloma, macroglobulinemia, or disease associated with altered albumin: globulin ratio) |
| --- | --- |

| # Uncontrolled Documents | Roback, JD, , ed. Technical Manual, 17th ed, Bethesda, MD: AABB 2011. pg. 901-902. |
| --- | --- |

| # Controlled Documents | Reading and Grading Tube And Gel Agglutination; |
| --- | --- |
|  | Continued on next page |

| Authors: | Jane P. Byrne, CLS | Karen Lavine, MT(ASCP) |
| --- | --- | --- |
|  | Helen To, MT(ASCP) | Virgie Eugenio, MT(ASCP)SBB |
|  | Helen Noriega, MT(ASCP)SBB | Rosalinda Catamisan, MT(ASCP)SBB |
|  | Roger AngLee, CLS | Howard D. Ammerman, MT(ASCP) |
|  | Harvey Shulman, MT(ASCP)SBB | Cynthia Calderon, MT(ASCP)SBB |
|  | Angela Varela, MT(ASCP) | Mona Yu, MS,MT(ASCP)SBB |
|  | Billy Leung, CLS |  |

| Distribution | All SCPMG Transfusion Services |
| --- | --- |
|  | Continued on next page |

Reviewed and approved by:

| Electronically Signed |  | July 5, 2011 |
| --- | --- | --- |
| Virginia Vengelen-Tyler, MBA, MT,ASCP(SBB), CQA(ASQ) Regional Blood Bank Compliance Officer |  | Date |
| Signature Collected Electronically |  | June 23, 2011 |
| Adriana A. Bedoya, M.D., FCAP, FASCP Medical Director- San Diego –SA |  | ## Date |
| Signature Collected Electronically |  | ## June 30, 2011 |
| Gary Gochman, MD, Medical Director –Tri-Central SA |  | ## Date |
| Signature Collected Electronically |  | ## June 30, 2011 |
| Jeffrey D. Shiffer, MD. Medical Director –San Fernando Valley SA |  | ## Date |
| Signature Collected Electronically |  | ## June 21, 2011 |
| Joseph Thompson, MD. Medical Director –Metropolitan SA |  | ## Date |
| Signature Collected Electronically |  | ## June 21, 2011 |
| David Huebner-Chan, MD. Medical Director –Orange County SA |  | ## Date |
| Signature Collected Electronically |  | ## June 20, 2011 |
| Dong Quach, MD. Medical Director –Inland Empire SA |  | ## Date |
| Signature Collected Electronically |  | ## June 30, 2011 |
| Ramesch Doshi, MD. Medical Director- Tri-Central SA |  |  |
| Signature Collected Electronically |  | ## June 30, 2011 |
| Brian Platz, MD, Medical Director- West Los Angeles |  | ## Date |
| ## Continued on next page |  |  |

DOCUMENT HISTORY PAGE

Effective Date: 	July 5, 2011

| Change type: new, major, minor etc. | Changes Made to Document – Describe | Signature responsible person/Date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ Date | Date change Imp. |
| --- | --- | --- | --- | --- | --- |
| New |  |  |  |  |  |
| IMP = Implemented |  |  |  |  |  |

| MasterControl History of Change: |  |  |
| --- | --- | --- |
| Change type: new, major, minor etc. | Version # | Description of Change |
| Minor | 2 | - Changed title from “Saline Replacement: Detecting antibody in the presence of Rouleaux” to Saline Replacement: How to perform. - Added wording to indicate that there needs should be an attempt to determine if the reaction looks like the typical “stack of coins” before attempting the saline replacement. - Updated reference to current version of Technical Manual |