1. Run 4 channels of Normal QC.
	1. Channel 1 & 3 Extem
	2. Channel 2 & 4 Intem

Alternate Extem and Intem channels each week.

1. Run 4 channels of Pathological QC.
	1. Channel 1& 3 Extem
	2. Channel 2 &4 Intem

Alternate Extem and Intem channels each week.

Run all Normal QC first!

Run all Pathological QC together as well.

2 separate runs, for a total of 8 QC’s.

Let QC sit out at room temp for 20 minutes prior to preparation.

Add diluent to vials and let sit for 30 minutes.

Let the QC sit on warmer for 5 minutes prior to testing.

Keep all reagents in the refrigerator prior to testing.