## Slide 1: CAP Proficiency Testing Guide
P&lms

## Slide 2: What is Proficiency Testing?
Proficiency testing is a program of unknown samples that are to be tested and formally evaluated, generally by an outside third party (CAP).
Proficiency testing is a requirement from accrediting agencies (VA, Joint Commission, CMS, etc.) to verify that the testing locations and personnel can competently and accurately perform patient testing.
Failures in proficiency testing will result in the inability to perform those tests on patients and could ultimately result in licensure being withdrawn from specific testing locations.

## Slide 3: Proficiency Testing Requirements
Proficiency testing must…
  be performed in the same manner as patient tests
  follow laboratory policies and procedures
  be performed by certified trained and competent staff
  be rotated amongst certified staff
  follow all special instructions per the CAP instruction packet
  performed in the timeframe allotted

## Slide 4: Proficiency Testing Requirements
Proficiency testing may not…..
  be shared/compared between testing facilities or personnel
  be tested in a manner that varies from patient tests (don’t run in duplicate if that’s not how you would test a patient)
  be sent to another facility or reference lab
  Be used for correlation or comparison between laboratory instruments prior to the submission due date

## Slide 5: Upon Receipt of Survey
Follow the steps outlined in the Standard Work, CAP Proficiency Testing.
Standard Work - PROCESS IMPROVEMENT CAP.docx (sharepoint.com)

## Slide 9: Please see the section Lead or Supervisor if you have specific questions. Thank you.