## Quiz
Name__________________________________________ |  |  |  | Title_________________________
Operator Number__________ |  |  | Unit_______________________ |  | Date______________________
True/False
____ | 1 | Before performing a patient test, be sure the lot number on the test strip vial corresponds to the lot number displayed on the Accuchek Inform II meter.
____ | 2 | Both levels of Quality control must be performed every 12 hours of patient testing.
____ | 3 | When the Accuchek results do not reflect the patient's condition, the test should be repeated. If the results still do not reflect the patient's condition, send a sample to the lab for confirmation.
____ | 4 | It does not matter what type of blood sample is used on the Inform II meter.
____ | 5 | The proper site for finger puncture is on the side of the fingertip.
____ | 6 | Glucose quality control solutions do not have to be dated when first opened.
____ | 7 | If LO appears as the patient result, the test should be repeated.
____ | 8 | The Accuchek Inform II meter should be docked in the base unit when not in use.
____ | 9 | Every patient must have 2-3 comments attached and each QC must have at least one comment attached.
____ | 10 | As an operator of the Accuchek Inform II, I understand that failure to follow the Accuchek Inform II Whole Blood Glucose procedure may have a negative impact on patient outcome and may also lead to my operator ID being locked out of the Inform II meters.
____ | 11 | Employees are free to perform glucoses on themselves using the Accuchek Inform II meter.
Multiple Choice
1 | The labeling requirement when first opening a vial of Quality Control solution is:
| a | No labeling required
| b | Open date
| c | 3 month expiration date
| d | both b and c
2 | Who is immediately notified when the result is critical?
| a | physician
| b | clerk
| c | nurse
| d | patient's family
3 | Acceptable patient ID when the patient lacks an armband or has not been registered is(are):
| a | patient's first and last name
| b | 9119119119119 and email POC office (cp_poct@augusta.edu) with patient's correct ID as soon as available
| c | both a and b
| d | 9999999999999
4 | The patient identifier used in the Accuchek Inform II meter is:
| a | MRN
| b | Acct number and suffix (13 digits)
| c | patient's room number
| d | patient's date of birth
5 | The Accuchek Inform II meter is cleaned between uses with:
| a | alcohol preps
| b | soap and water
| c | 10% bleach solution
| d | Purple top Super-Sani Wipes
6 | Quality Control solutions are stable for how long after opening?
| a | 3 months
| b | 5 days
| c | 6 months
| d | the manufacturer's expiration date printed on the vial
7 | LO or HI displayed on the Accuchek Inform II meter indicates that there has been a technique error or that the blood glucose level is:
| a | LO <40 mg/dL, HI >500 mg/dL
| b | LO >40 mg/dL, HI <500 mg/dL
| c | LO <10 mg/dL, HI >600 mg/dL
| d | LO >10 mg/dL, HI <600 mg/dL
8 | The minimum sample size for the Accuchek Inform II meter is:
| a | 0.6uL
| b | 0.5ml
| c | 3cc
| d | 4uL
9 | The acceptable sample type for the Accuchek Inform II meter is:
| a | capilllary, in non-critically ill patients
| b | venous
| c | arterial
| d | all the above
10 | Choose situations when a capillary specimen in not appropriate for measuring a patient's glucose level:
| a | patient's MAP is <60mmHg despite the use of vasopressors
| b | patient has peripheral vascular disease
| c | patient is severely dehydrated
| d | all of the above
11 | Choose the situation when a patient glucose test must be sent to the laboratory for testing rather than be performed on the Inform II meter.
| a | patient's hematocrit is <10 or >65
| b | the QC is due on the Accuchek Inform II meter
| c | the patient is too young
| d | the Inform II meter has been off the base unit for more than 8 hours
12 | Immediately notify the provider responsible for the patient's care when the glucose results are:
| a | Adult <50 or >400 mg/dL
| b | Child <60 or >400 mg/dL
| c | Neonate <40 or >200 mg/dL
| d | all the above
13 | A sample is sent to the laboratory for verification when:
| a | the result does not reflect the patient's clinical presentation
| b | the neonate glucose is <40 or >200 mg/dL
| c | the adult/child glucose is <50 or >400 mg/dL
| d | all the above
14 | Accuchek Inform II meter glucoses may be performed on critically-ill patients by:
| a | a medical student
| b | housekeeping personnel
| c | licensed/certified personnel with appropriate education qualifications
| d | a family member
15 | The comment codes instrument hardware error 11507 and defective strip detected are usually due to:
| a | placing the test strip into the meter before being queued to do so by the meter
| b | placing the sample into the test strip before being queued to do so by the meter
| c | both a and b
| d | insufficiency sample
16 | After performing a patient test, the following coded comments must be entered in the Inform II meter by the operator:
| a | What action was taken, if needed
| b | Meter Cleaned
| c | Who was notified, if result is critical
| d | no comments needed

## key
Name__________________________________________ |  |  |  | Title_________________________
Operator Number__________ |  |  | Unit_______________________ |  | Date______________________
True/False
T | 1 | Before performing a patient test, be sure the lot number on the test strip vial corresponds to the lot number displayed on the Accuchek Inform II meter.
T | 2 | Both levels of Quality control must be performed every 12 hours of patient testing.
T | 3 | When the Accuchek results do not reflect the patient's condition, the test should be repeated. If the results still do not reflect the patient's condition, send a sample to the lab for confirmation.
F | 4 | It does not matter what type of blood sample is used on the Inform II meter.
T | 5 | The proper site for finger puncture is on the side of the fingertip.
F | 6 | Glucose quality control solutions do not have to be dated when first opened.
T | 7 | If LO appears as the patient result, the test should be repeated.
T | 8 | The Accuchek Inform II meter should be docked in the base unit when not in use.
T | 9 | Every patient must have 2-3 comments attached and each QC must have at least one comment attached.
T | 10 | As an operator of the Accuchek Inform II, I understand that failure to follow the Accuchek Inform II Whole Blood Glucose procedure may have a negative impact on patient outcome and may also lead to my operator ID being locked out of the Inform II meters.
F | 11 | Employees are free to perform glucoses on themselves using the Accuchek Inform II meter.
Multiple Choice
1 | The labeling requirement when first opening a vial of Quality Control solution is:
| a | No labeling required
| b | Open date
| c | 3 month expiration date
| d | both b and c
2 | Who is immediately notified when the result is critical?
| a | physician
| b | clerk
| c | nurse
| d | patient's family
3 | Acceptable patient ID when the patient lacks an armband or has not been registered is(are):
| a | patient's first and last name
| b | 9119119119119 and email POC office (cp_poct@augusta.edu) with patient's correct ID as soon as available
| c | both a and b
| d | 9999999999999
4 | The patient identifier used in the Accuchek Inform II meter is:
| a | MRN
| b | Acct number and suffix (13 digits)
| c | patient's room number
| d | patient's date of birth
5 | The Accuchek Inform II meter is cleaned between uses with:
| a | alcohol preps
| b | soap and water
| c | 10% bleach solution
| d | Purple top Super-Sani Wipes
6 | Quality Control solutions are stable for how long after opening?
| a | 3 months
| b | 5 days
| c | 6 months
| d | the manufacturer's expiration date printed on the vial
7 | LO or HI displayed on the Accuchek Inform II meter indicates that there has been a technique error or that the blood glucose level is:
| a | LO <40 mg/dL, HI >500 mg/dL
| b | LO >40 mg/dL, HI <500 mg/dL
| c | LO <10 mg/dL, HI >600 mg/dL
| d | LO >10 mg/dL, HI <600 mg/dL
8 | The minimum sample size for the Accuchek Inform II meter is:
| a | 0.6uL
| b | 0.5ml
| c | 3cc
| d | 4uL
9 | The acceptable sample type for the Accuchek Inform II meter is:
| a | capilllary, in non-critically ill patients
| b | venous
| c | arterial
| d | all the above
10 | Choose situations when a capillary specimen in not appropriate for measuring a patient's glucose level:
| a | patient's MAP is <60mmHg despite the use of vasopressors
| b | patient has peripheral vascular disease
| c | patient is severely dehydrated
| d | all of the above
11 | Choose the situation when a patient glucose test must be sent to the laboratory for testing rather than be performed on the Inform II meter.
| a | patient's hematocrit is <10 or >65
| b | the QC is due on the Accuchek Inform II meter
| c | the patient is too young
| d | the Inform II meter has been off the base unit for more than 8 hours
12 | Immediately notify the provider responsible for the patient's care when the glucose results are:
| a | Adult <50 or >400 mg/dL
| b | Child <60 or >400 mg/dL
| c | Neonate <40 or >200 mg/dL
| d | all the above
13 | A sample is sent to the laboratory for verification when:
| a | the result does not reflect the patient's clinical presentation
| b | the neonate glucose is <40 or >200 mg/dL
| c | the adult/child glucose is <50 or >400 mg/dL
| d | all the above
14 | Accuchek Inform II meter glucoses may be performed on critically-ill patients by:
| a | a medical student
| b | housekeeping personnel
| c | licensed/certified personnel with appropriate education qualifications
| d | a family member
15 | The comment codes instrument hardware error 11507 and defective strip detected are usually due to:
| a | placing the test strip into the meter before being queued to do so by the meter
| b | placing the sample into the test strip before being queued to do so by the meter
| c | both a and b
| d | insufficiency sample
16 | After performing a patient test, the following coded comments must be entered in the Inform II meter by the operator:
| a | What action was taken, if needed
| b | Meter Cleaned
| c | Who was notified, if result is critical
| d | no comments needed

## checklist
Name/Title__________________________________________________________________
Operator ID________________ |  |  | Date________________________________
Initial Training_____ |  | 6Mth Recert_____ | 12Mth Recert_____ | Annual Recert_____
Competency assessment includes:
1 | Direct observation of routine patient testing, including patient preparation, specimen collection, labelling, handling, processing, and testing.
2 | Monitoring the recording and reporting of test results, including critical values as applicable.
3 | Monitoring of QC records, proficiency testing results, and preventive maintenance records.
4 | Direct observation of routine patient testing, including patient preparation, specimen collection, labelling, handling, processing, and testing.
5 | Proficiency testing samples.
6 | Evaluation of problem-solving skills.
Direct Observation: |  |  |  |  | Completes Correctly Y/N | Date
Washes hands, dons standard precaution equipment, and identifies patient.
Scans patient ID barcode or manually enters patient ACCT number when prompted.
Removes test strip from vial and immediately recaps strip vial afterward.
Inserts test strip into strip port of meter when prompted.
Obtains blood samples following protocol and applies sample to test strip when prompted.
Reviews glucose result and chooses appropriate comments, to include Meter Cleaned.
Removes test strip from meter and discards appropriately.
Repeats test if necessary, according to protocol.
Wipes meter clean with Purple top Super-Sani Wipes and allow to dry before docking meter.
Recording and Reporting Results: |  |  |  |  | Completes Correctly Y/N | Date
Places cleaned, dry meter in base unit docking station to download patient results to patient chart. Manually documents results if necessary.
If results critical, notifies physician and documents notification.
Collects and sends sample to laboratory to confirmation when applicable.
Review QC Records: |  |  |  |  | Completes Correctly Y/N | Date
Demonstrates to observer when to find Quality Control results in meter.
Indicates to POC testing office any QC issues noted.
Direct Observation of Maintenance and Function Checks: |  |  |  |  | Completes Correctly Y/N | Date
Demonstrates how to charge battery and where to find battery life on meter.
Demonstrates cleaning meter.
Places Accuchek Inform II meter in base unit docking station.
Test Performance (Choose 1 of the following) |  |  |  |  | Completes Correctly Y/N | Date
Perform BOTH levels of liquid QC with all results acceptable. Enter date performed._________
Perform proficiency testing with 100% acceptable results. Enter date performed._____________
Perform patient test and send same sample to lab for confirmation. Enter patient ID and date/time performed:__________________________________________________________________
Problem Solving: |  |  |  |  | Completes Correctly Y/N | Date
Explain how to position meter when applying sample and how to prevent defective strip error.
Complete Accuchek Inform II quiz with minimum passing score of 80%.
Educational Criteria:
I have read and understand the Accuchek Inform II system procedure. I understand that failure to follow proper procedure may have a negative impact on patient outcome and also lead to my access being deactivated in the Inform II meters.
I understand A U Medical Center's policy for the use of Accuchek Inform II meter on critically-ill patients according to the Alternate Site Testing policy and agree to comply with this policy.
I have supplied Human Resources with a copy of my diploma(s) and certification/licensure(s).
Operator Signature:_____________________________________________________________________
Date:_________________________________________
Observer's Comments:
Observer's Signature/Title:______________________________________________________________