TITLE:   WET MOUNT PREPARATION POLICY AND PROCEDURE

EFFECTIVE DATE:    August 9, 2006			SOP #	  POC.043

APPROVED BY:						PAGE 	  1 of 8

___________________________________________	Date  ______________________

- Patricia Tsang, MD MBA / Laboratory Chairperson

___________________________________________	Date  ______________________

- Cyril D’Cruz, MD / Laboratory Vice Chair

_______________________________________	Date  ______________________

- Maricar Eckman, BSMT / Point of Care Coordinator

- REVIEWED BY:

|  | Date |  | Medical Director |  |  |  | Date |  | Supervisor |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- REVISED BY:

|  | Date |  | Medical Director |  |  |  | Date |  | Supervisor |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ATTACHMENTS:

Attachment A:	List of Approved Point of Care Tests

Attachment B:	10% Potassium Hydroxide Reagent Droppers Package Insert

PURPOSE:

Vaginitis is one of the most common complaints of women seeking medical treatment. Approximately ninety percent (90%) of the cases are associated with infections caused by Bacterial Vaginosis, Candida sp. or Trichomonas. In conjunction with the patient’s history and physical examination, the wet prep procedure is a valuable aid in the diagnosis of the etiologic agent.

This procedure provides instructions for performing microscopic examination for the presence of these agents in saline suspension of vaginal secretions, as specified in the guideline established by the College of American Pathologists (CAP). It is also in compliance with the Clinical Laboratory Improvement Amendment (CLIA).

QUALIFICATIONS:

- Personnel:

1.1   	The following personnel are authorized to perform wet mount testing if it is within the scope of their medical specialties and when credentialed as competent:

- Attending Physicians

- Resident Physicians

1.2 	The Chair of each department will be responsible for the training program approved by the lab and supervision of wet mount prep testing performed by the physicians and residents.

1.3 	If applicable, the department Chair will be responsible for credentialing physicians for wet mount testing, when it is added to the physicians’ credentialing process.

1.4	The Laboratory Point-of-Care Coordinator (or designee) will be responsible for the oversight of the Point-of-Care testing at each location within NBIMC.

- Departments qualified for wet mount testing:

2.1	Certain departments/sites are authorized by the Laboratory for testing if the test falls within the scope of their particular specialty practice and upon satisfying all compliance requirements:

See list of Approved Point of Care Tests (See Attachment A)

- Certification:

  - Documentation of policy and procedure review by the physicians/residents performing wet mount testing.

  - Documentation of all required training on Signature sheets and through print-outs of the on-line competency tests performed by each physician or resident.

POLICY:

- Until wet mount prep testing is added to the physicians’ credentialing process, the training for the attending physicians will require them to read and be familiar with the policy and procedure and to sign the Signature log to document this.

- The initial training for attending physicians will include enrolling in an on-line proficiency test and passing with an 80% score.

- Resident physicians are required to document that they have read and are familiar with the policy and procedure and will have to enroll in the on-line competency program, annually.

- KOH lyses epithelial cells in about 5 minutes and allows easier microscopic visualization of Candidal hyphae. 10% KOH is a caustic and has a potential for injury.

REAGENTS AND EQUIPMENT:

Equipment:

- Microscope with 10x and 40x objective lenses

- Materials:

- Test tubes (10 x 75 mm)

- Sterile swabs

- Glass microscope slides

- Glass cover slips 22 mm sq.

- Disposable plastic pipettes

- Microscope lens cleaner

- Lens paper

- A puncture proof disposal container

- An EPA approved disinfectant

- Reagents:

- Normal saline, 0.85% sodium chloride in water

- 10% Potassium Hydroxide (KOH)

STORAGE:

- All reagents are to be stored at room temperature.

- No reagents are to be used past their expiration date.

- MAINTENANCE:

- Daily:

- Clean objective lenses, eyepieces and condenser daily. Use high quality paper moistened with an approved lens cleaner to clean objectives and eyepieces.

- Note: DO NOT USE organic solvents, Kimwipes, paper towel, or gauze to clean lenses or eyepieces.

- Clean work surfaces daily or when contaminated, with an EPA approved disinfectant.

- Bi-Annually:

- The microscope must have a bi-annual preventive maintenance by a qualified service agent.

- This will be performed in the laboratory and each department will be notified when to bring their microscopes to the lab for this service.

- SPECIMEN COLLECTION AND HANDLING:

Note: Collect and handle all potentially infectious specimens by following Standard Precautions.

Specimens:

- Vaginal discharge

- Urethral discharge

- Urethral-mucosa scrapings

- Place approximately 0.5 mL of 0.85% non-bacteriostatic normal saline in a small test tube (10 x 75 mm). The saline must be at room temperature.

- Collect vaginal material on a swab by rubbing the vaginal wall or by collecting material from the posterior fornix and emulsify in saline.

- Label the tube with a patient ID label.

- The sample should be maintained at room temperature (do not refrigerate) and examine within 15 minutes of collection.

- TESTING PROCEDURE:

- Gently mix the specimen and place one drop of specimen on each of two (2)  slides, using a transfer pipet.

- Place a cover slip on one (1) slide, being careful to avoid trapping air bubbles.  Add one (1) drop of KOH reagent to the second slide as follows:

- Hold the reagent dropper upright and point away from yourself. Grasp the middle with the thumb and forefinger and squeeze gently to break the ampoule inside the dropper.

Caution: Break ampoule close to the center one time only. Do not manipulate dropper any further as the plastic may puncture and injury may occur.

- Tap the bottom of the dropper on table top a few times then invert for convenient drop-by-drop dispensing of the reagent.  Add one (1) drop to the second slide.

- Place a cover slip over the sample and tap down gently.

- Adjust the microscope to obtain optimum contrast.

- SALINE PREP:  Scan the entire slide, using 10x (low power field – lpf) and 40x (high power field – hpf) objectives for the following:

- Budding yeast

- Pseudohyphae (fungal elements)

- Motile or non-motile Trichomonas

- White blood cells (WBC) > 10 cells / high power field (hpf)

- Clue Cells

- KOH PREP: examining the KOH slide prep after the saline prep allows the KOH time to clear the cellular debris, thus making the observation of pseudophyphae easier.

- The examination should be conducted within 5 minutes of the addition of the KOH to prevent the formation of drying artifacts.

- In most cases, the presence of pseudohyphae and budding yeast can be determined using low power (10x). The KOH prep is not suitable for the examination of the other agent associated with vaginitis.

- Record results in patients’ chart for documentation.

- Discard slides into a puncture proof container.

REPORTING RESULTS:

- Negative:  Indicates the absence of the cellular elements being evaluated.

- Positive:   Indicates the presence of any of the following cellular elements:

- Trichomonas vaginalis

Trichomonas are flagellates that have 3-5 anterior and 1 posterior flagella. They have rapid jerky motility that can be seen under low power. However, their numbers vary in clinical specimens and scanning the whole slide is essential. Also, Trichomonas has limited survival outside the host. Therefore, examining the specimen within 15 minutes is critical. As viability decreases, they become spherical and non-motile. Examination under high power may still identify spherical cells with flagellar movement.

- Budding yeast or psuedohyphae

Candida albicans is the most frequently encountered Candida sp. associated with vaginal infections, but the organism does occur in low numbers as part of the normal vaginal flora. There are two morphologic forms that are seen in clinical specimens, the yeast phase and pseudohyphae. The yeast phase is about the sizes of a red blood cell (7 – 8 micron, pear shaped) and can be seen as a single cell with or without a bud. Psuedohyphae appear as thick walled tube-like structures. Note: Low numbers of yeast, in the absence of clinical signs and symptoms, are considered part of the normal vaginal flora.

- > 10 White blood cells per high power field (WBC/hpf)

- > 20% Clue Cells

- Results may be manually written in the patient’s chart and must include the date/ time of test and the initials of the person who performed the test. Positive test results must include the number of cellular elements seen per hpf or lpf.

QUALITY CONTROL:

- Commercial controls are not currently available for wet mount preparation.  Review of the same specimen by multiple examiners can help determine accuracy of test results.

- Examine KOH reagent for signs of deterioration (precipitated KOH crystals on the wall of the ampoule or floating in the reagent).  Refer to Attachment B: 10% Potassium Hydroxide Reagent Droppers Package Insert

LIMITATIONS OF THE METHOD:

- False negative wet prep exams, with or without the presence of white blood cells (WBCs), may be as high as 60% when compared to other laboratory procedures, such as culture.

- There are several reasons for this lack of sensitivity:

- Extent of experience or lack of experience of the examiner

- Patient hygiene practices such as douching and intra-vaginal medication use

- And the limits of detection of the direct examination procedure

- The presence of >10 WBCs / hpf may result from a non-infectious process.

PROFICIENCY TESTING PROCEDURE:

- Proficiency testing is provided by the University of Washington through an on-line PPM competency challenge program, approved by CAP, the College of American Pathologists.

- Physicians and medical residents who perform this test participate in this program, for initial training competency assessment.

- Medical residents may perform this competency on an annual basis.

- The passing grade for this on-line program is 80%.

- Incorrect results will be investigated and retraining performed if necessary.

INFECTION CONTROL:

Handle and dispose of all materials coming in contact with blood according to universal precautions. Any spills or leakage must be cleaned with a disinfectant (10% bleach).

SAFETY:

- Sharps precautions must be utilized or followed at all times.

- REFERENCES:

- NCCLS. Provider-Performed Microscopy Testing; Approved Guideline. NCCLS document HS2-A. NCCLS, Wayne, PA, 2003.

- Henry, J B: Clinical Diagnosis and Management by Laboratory Methods, W.B. Saunders Company, Philadelphia, 2001.

ORIGINAL DATE:

July 2006

INITIATED BY:

Nellie Gillman, POCC

REVISED:

June 2011

February 2012