## Slide 1: Proficiency Testing (PT)
Prepared for WFBH Point of Care Test Groups
Approved by A. Julian Garvin, MD, Greg Pomper, MD, and Melanie Haire, WFBH Audit and Compliance Office
01/08/2013 (Angie Thayer, BSMT, ASCP)

## Slide 2: Proficiency Testing
This information is not all-inclusive.
For additional information, refer to the CDC web site http://wwwn.cdc.gov/clia/regs/subpart_h.aspx

## Slide 3: Proficiency Testing
Proficiency Testing (PT) is highly regulated by the Federal Government.
Our organization must comply with regulations set forth in the Code of Federal Regulations 493.801 Subpart H

## Slide 4: What is Proficiency Testing?
Proficiency testing or PT is the testing of unknown samples sent to a laboratory by a Centers for Medicare and Medicaid Services (CMS) approved PT program.
Most sets of PT samples are sent to participating laboratories three times per year.
After testing the PT samples in the same manner as its patient specimens, the laboratory reports its sample results back to their PT program.
The program grades the results using the CLIA grading criteria and sends the laboratory scores reflecting how accurately it performed the testing.
CMS and accreditation organizations routinely monitor their laboratories’ performance.

## Slide 5: Proficiency Testing
For the purposes of this presentation, when ‘laboratory’ is referenced, the indicated verbiage applies to any site performing blood or body fluid testing under the Clinical Lab CLIA certificate.
For example, point-of-care test sites performing the following testing: i-STAT, Hemochron ACT, AVOX, Medtronic, etc.

## Slide 6: Proficiency Testing
All point-of-care test sites that are included under the Clinical Laboratory CLIA certificate must participate in proficiency testing processes.
This includes, but may not be limited to:
  CCU
  7Ardmore
  ECMO
  EP Lab
  Cath Lab
  Respiratory Care
  MRI
  DHP Phlebotomy
  Perfusion
  Interventional Radiology

## Slide 7: Sec. 493.801 Condition: Enrollment and testing of samples.
Each laboratory must enroll in a proficiency testing (PT) program that meets the criteria in subpart I of this part and is approved by HHS. The laboratory must enroll in an approved program or programs for each of the specialties and subspecialties for which it seeks certification. The laboratory must test the samples in the same manner as patients' specimens.

## Slide 8: Sec. 493.801 Condition: Enrollment and testing of samples.
(1) The samples must be examined or tested with the laboratory's regular patient workload by personnel who routinely perform the testing in the laboratory, using the laboratory's routine methods.

## Slide 9: Why is PT important?
PT is important because it is a tool the laboratory can use to verify the accuracy and reliability of its testing.
Routine reviews of PT reports by the laboratory staff and director will alert them to areas of testing that are not performing as expected and also indicate subtle shifts and trends that, over time, would affect their patient results.

## Slide 10: Do I test my PT samples any differently than I test patient specimens?
PT samples must be tested in the same manner you test patient specimens.
This means testing the PT samples the same number of times as patient specimens, at the same time as patient specimens, by the same personnel that routinely test the patient specimens, and using the same test system that is routinely used for the patient specimens.
PT samples should be rotated among the testing personnel in your laboratory.
Please note that some PT sample preparation may be necessary before testing. In other words, after preparation, PT samples must be treated in the same manner as patient specimens.
However, as stated below, NEVER send PT samples out of your test site for any reason, even if you routinely send out patient specimens for additional or confirmatory testing.

## Slide 11: May I discuss my PT results with another test site?
NEVER discuss your PT results with another test site and NEVER enter into discussion with another test site about their PT results before the PT event cut-off date.
This activity may cause you to lose your CLIA certificate.

## Slide 12: Sec. 493.801 Condition: Enrollment and testing of samples.
(3) Laboratories that perform tests on proficiency testing samples must not engage in any inter-laboratory communications pertaining to the results of proficiency testing sample(s) until after the date by which the laboratory must report proficiency testing results to the program for the testing event in which the samples were sent.
Laboratories with multiple testing sites or separate locations must not participate in any communications or discussions across sites/locations concerning proficiency testing sample results until after the date by which the laboratory must report proficiency testing results to the program.

## Slide 13: What do I do if I receive PT samples from another test site?
DO NOT TEST the samples.
Contact Dr. Greg Pomper at 716-7442 or 806-8009

## Slide 14: Sec. 493.801 Condition: Enrollment and testing of samples.
The individual testing or examining the samples and the laboratory director must attest to the routine integration of the samples into the patient workload using the laboratory's routine methods.

## Slide 15: Sec. 493.801 Condition: Enrollment and testing of samples.
(2) The laboratory must test samples the same number of times that it routinely tests patient samples.

## Slide 16: May I send my PT samples to another test site to see if they get the same results as I do?
NEVER send your PT samples to another test site, even if you send your patient specimens to another site for confirmation.
Sending PT samples to another test site for testing is considered PT referral and will cause serious actions to be taken against your laboratory, your laboratory director, and the laboratory owner.
The penalties include loss of your laboratory’s CLIA certificate for at least one year, your director cannot direct a laboratory for two years, and your laboratory owner may not own or operate a laboratory for two years.

## Slide 17: Sec. 493.801 Condition: Enrollment and testing of samples.
(4) The laboratory must not send PT samples or portions of samples to another laboratory for any analysis which it is certified to perform in its own laboratory.
Any laboratory that CMS determines intentionally referred its proficiency testing samples to another laboratory for analysis will have its certification revoked for at least one year.
Any laboratory that receives proficiency testing samples from another laboratory for testing must notify CMS of the receipt of those samples.

## Slide 18: Sec. 493.801 Condition: Enrollment and testing of samples.
(5) The laboratory must document the handling, preparation, processing, examination, and each step in the testing and reporting of results for all proficiency testing samples.
The laboratory must maintain a copy of all records, including a copy of the proficiency testing program report forms used by the laboratory to record proficiency testing results including the attestation statement provided by the PT program, signed by the analyst and the laboratory director, documenting that proficiency testing samples were tested in the same manner as patient specimens, for a minimum of two years from the date of the proficiency testing event.

## Slide 19: Sec. 493.801 Condition: Enrollment and testing of samples.
(6) PT is required for only the test system, assay, or examination used as the primary method for patient testing during the PT event.

## Slide 20: What must I do if I do not get a passing score when the PT program grades my results?
Re-review the results that were submitted to the PT program for scoring for any obvious errors (this should have been done prior to submitting your results to the program).
Clerical or transcription errors are considered incorrect results.
The director of your laboratory, as well as the personnel who performed the testing of the PT samples, should compare their PT results with the inter-laboratory comparison evaluations provided by the PT program.
You must take remedial actions, i.e., determine the cause of the error or errors, correct it (them), and document your actions.
Continually monitor the test system performance, review the results of the quality control materials, and discuss with the Clinical Lab Medical Director to be certain the test system is operating properly and producing accurate results.
The Clinical Lab Medical Director may want to review the results of the patients tested during the unsatisfactory or unacceptable testing event. Depending upon the test system’s performance and the lab director’s decision, you may need to contact the manufacturer of the test system for assistance

## Slide 21: If I do not successfully participate in PT, what happens?
If your laboratory has never had an unsuccessful performance for any PT analyte, subspecialty, or specialty, the CLIA regulations, under certain circumstances, permit technical assistance and training to take place, rather than a more serious sanction.
However, repeated unsuccessful PT performance for that same analyte, subspecialty or specialty may result in your laboratory no longer being allowed to perform the failed testing.

## Slide 22: Sec. 493.803 Condition: Successful participation.
(a) Each laboratory performing non-waived testing must successfully participate in a proficiency testing program approved by CMS, if applicable, as described in subpart I of this part for each specialty, subspecialty, and analyte or test in which the laboratory is certified under CLIA.

## Slide 23: Competency Assessment
You must complete the on-line exam and score 100%.
The exam is administered using WFBH’s subscription to MTS (University of Washington)

## Slide 24: References
“Clinical Laboratory Improvement Amendments (CLIA) Proficiency Testing Do’s and Don’ts”
http://www.cms.gov/Regulations-and-Guidance/Legislation/CLIA/downloads/cliabrochure8.pdf
Centers for Disease Control and Prevention—Subpart H—Participation in Proficiency Testing for Laboratories Performing Nonwaived Testing
http://wwwn.cdc.gov/clia/regs/subpart_h.aspx
proficiencytestingpocteducation010813