## Slide 1: IRIS User Review
Wake Forest Baptist Medical Center
Hematology - Urinalysis

## Slide 2: Objectives
Review IRIS to Beaker Translations.
Educate laboratory technicians on possible RBC and WBC discrepancies.
Assist laboratory technicians with Trichomonas identification/investigation.
Review Transition and Renal Epithelial Cell identification.
Cover proper Bacteria Grading criteria.

## Slide 3: IRIS to Beaker Translations
IRIS Clarity  Beaker Clarity
  Clear = Clear
  Turbid = Cloudy
  Ex. Turbid = Turbid
IRIS Glucose  Beaker Glucose
  Normal = Negative
IRIS Urobilinogen  Beaker Urobilinogen
  Normal = 0.2 EU/DL

## Slide 4: RBC Discrepancies (From Memory Joggers)
Positive Chemistry vs No RBCs in Microscopic
  RBCs readily lyse and disintegrate in hypotonic or alkaline urine. Such lysis can also occur within the urinary tract before collection.
  Lysed RBCs releasing hemoglobin is enhanced in alkaline or dilute urine (SG <1.010).
Negative Chemistry vs RBCs in Microscopic
  Ascorbic acid interference.
  Confirm that RBC pictures are not CAOX.
  Smoking and normal exercise cause hematuria. Anticoagulant drugs and toxic reaction inducing drugs can increase numbers of RBCs in urine.

## Slide 5: RBC Discrepancies Cont…
Possible False-Positive RBC Chemistry Reactions
  Menstrual Contamination
  Bacterial peroxidases
  Strong oxidizing agents (bleach)
Possible False-Negative RBC Chemistry Reactions
  Ascorbic acid, uric acid, gentistic acid
  Missing dietary nitrate (starvation, IV feeding, fasting)

## Slide 6: WBC Discrepancies (From Memory Joggers)
Positive LE Chemistry vs No WBCs in Microscopic
  Alkaline or hypotonic (SG <1.010) urine enhances cell lysis
  Improperly mixed samples
Negative LE Chemistry vs WBCs in Microscopic
  WBCs present may not be of the granulocytic series (lymphocytes)
  Different populations of WBCs have varying quantities of cytoplasmic granules which can differ the amount of leukocyte esterase. (lymphocytes have no LE)
  Over-hydration can cause LE to be diluted

## Slide 7: WBC Discrepancies Cont…
Possible False-Positive LE Chemistry Reactions
  Preservatives; formalin, formaldehyde
  Contamination by oxidizing agents and detergents
  Vaginal contamination or urine
Possible False-Negative LE Chemistry Reactions
  High concentrations of protein, glucose, cephalexin and gentamycin
  High SG
  Strong oxidizing substances (soaps and detergents)

## Slide 8: Trichomonas Identification/Investigation
Any WBCs, and some RBCs, may appear oval or irregularly shaped.
WBCs, and some RBCs, may appear out of focus due to motility.
Look for shadows that may be tails.
Review the patient’s chart to look for symptoms such as abdominal pain or genital discharge.
Any speculation of Trichomonas should be looked at under the microscope to confirm motility.
Review the following slides of possible Trichomonas images.

## Slide 10
Irregular Shapes
Faint shadows that appear to be tails
Some images are blurry due to motility

## Slide 11: Transitional vs Renal Epithelial Cells
Transitional Epithelial Cells
  30-40 microns
  Pear shaped with curved edges
  Usually found in patients with UTIs or Catheters
Renal Epithelial Cells
  <30 microns
  One or more flat sides
  Renal Epithelial cells usually are grouped together in small pairs
  Appear with renal function issues

## Slide 12: Bacteria Grading Chart (Found at Urine Bench)