## Sheet1
| Document Type: Form |  |  | Origin Date: 10/2021
CLIA Lab Director: Gregory Pomper, MD | Lab Department: Stem Cell Transplant and Cellular Therapy(SCTCT) Lab |  |  | Contact: Christina Warren
DAILY INSPECTION CHECKLIST
| SUNDAY | MONDAY | TUESDAY | WEDNESDAY | THURSDAY | FRIDAY | SATURDAY
Date
Hood 1 - Alarm Check
PSIG Reading (< 0.2)
Hood 2 - Alarm Check
PSIG Reading (< 0.2)
Hood 3 - Alarm Check
Downflow (55-65)
Inflow (90-120)
Hood 4 - Alarm Check
Downflow (55-65)
Inflow (90-120)
Check Top-Loading Balance with calibrated weights
Spec. Room Temp (17-24C)
Spec. Humidity (10-70%RH)
Supply Room Temp (17-24C)
Supply Humidity (10-70%RH)
Proc. Room Temp (17-24)
Proc. Room Humidity(10-70%)
Cryo Room Temp (17-24°C)
Cryo Humidity (10-70%RH)
Cryo Room O2 #1 (19-25%)
Cryo Room O2 #2 (19-25%)
Check REES for equipment inhibited & alarm activations and review electronically
LN2 Res 2 - Power On?
Horn & Lo/Hi Alarm On?
LN2 Level (21 - 25")
LN2 Res 3 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 4 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 5 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 6 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 7 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 8 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 9 - Digital Temp
LN2 Level - (2 - 6")
LN2 Res 10 - Temp A
LN2 Level - (5 - 8")
LN2 Res 11 - Temp A
LN2 Level - (5 - 8")
LN2 Res 12 - Temp A
LN2 Level - (5 - 8")
Comments/Corrective Action on Page 2.
DAILY INSPECTION CHECKLIST, continued
| SUNDAY | MONDAY | TUESDAY | WEDNESDAY | THURSDAY | FRIDAY | SATURDAY
Date
Phoenix-Reading (17-19 MΩ )
Pump & Pilot Light On?
Waterbath #1 - If In Use (35- 39C)
Waterbath #2 - If In Use (35-39C)
Waterbath #3 - If In Use (35-39C)
Refrigerator/Freezer Combo-Digital(2-8C)and REESreading(-35 to-16C) |  | / | / | / | / | /
Refrigerator #2 (Research) REES reading (2-8C)
Refrigerator #3 (Norlake) Digital (2 - 8C) and REES reading (-35 to -16C) |  | / | / | / | / | /
Freezer #1 (Norlake) Digital (2 - 8C) and REES reading (-35 to -16C) |  | / | / | / | / | /
CO2 Chamber #1 (35- 39C)
%CO2 (4.75 -5.25%)
Relative Humidity OK?
CO2 Chamber #2 (35- 39C)
%CO2 (4.5 -5.5%)
Relative Humidity OK?
CO2 Tank - PSI > 300?
Outlet PSI 5 - 25?
Check Dates of Stem Cell Assays: Review Stem Cell Assay Forms in the Pending boxand make sure all assays are on the BMT calendar.
Clean Work Areas
Stock Hood Areas
Clean Hoods Weekly
Lot#/Exp Germicidal Wipes
Flush Eyewash weekly
Check/Fill CO2 Incubator Water Reservoirs
Clean Sterile Docking Device with alcohol pad
Check/empty leak diverters
Move all red bins to the Cryo Room Door for pickup
Obtain Equipment Cleaning Checklist for Non-BMT Users and turn in to management/supervisor for review.
Air Products LN2 Level (M-W-F) airproducts.com/APDirect (30-136 inches) Telemetry will alert Air Products to fill at 35 inches.
Check Autologous PCWs: Ensure all autos for the following week have IRR and BMP in Patient Caution Window in SCC. Record on BMT Monitor1.
Allogeneic Transplant Checklists: Complete any pending Allo Transplant Checklists; Record on BMT Monitor 1 in subject line for the allo transplant.
Print pending Actions in SCC: Management, Testing History, Joint; Change Date to T-10; Uncheck Summary; Remove C in XM/Tests/Instructions; Change C to R in Actions.
Tech Initials
Comments/Corrective Action:
Reviewed by/Date: _____________________________________________________