## Slide 1: Fire and Code Triage
Larry Waldron MT(ASCP)CM
BB Specialist Technologist and Education Coordinator
Georgia Kontos MS, MLS(ASCP) CM
Blood Bank/SCTCT Safety Representative

## Slide 2: Fire Alarms
ANY time a fire alarm sounds you should
  Look for smoke or fire
  Smell for smoke
  Listen for announcement over PA system
  Share information with management and co-workers

## Slide 3: Fire Alarms
If you smell/see smoke or see fire:
  DIAL:
    Blood Bank location:
    BB / 1st Floor NT / Room 1B074A
    Stem Cell Transplant and Cellular Therapy location: SCTCT / 2ND Floor NT / Room 2B001A
  – OR –
  ACTIVATE NEAREST FIRE PULL STATION

## Slide 4: Fire Alarms
  Locations of nearest Fire Alarm Pull Station
    LOCATION BB:
      Out main BB door
      Turn right
      At elevator well
      Fire pull station is on right
      directly under red EXIT sign
    LOCATION SCTCT:
      Out main SCTCT door
      Turn Right
      Fire pull station is straight ahead
      directly under the red EXIT sign,
      next to the stairwell
Elevators

## Slide 5: Fire Alarms
Fire Extinguisher Locations
  In Blood Bank
    On the wall next to the front door, under the outgoing mail basket
    In the dance hall, across from the student lockers
  In SCTCT Lab
    In the processing room,
    next to the specimen
    receipt door
Blood Bank
SCTCT Lab

## Slide 6: Fire Alarms
P.A.S.S.
  When using a fire extinguisher remember:
    Pull extinguisher pin
    Aim extinguisher at base of flames
    Squeeze extinguisher handle
    Sweep extinguisher from side to side until flames are extinguished

## Slide 7: Fire Alarm Response Responses can be different depending on the lab you are in
Clinical Labs
Defend in place – Your lab is designed so that in the event of a fire outside the lab, you can continue to provide patient care
Non-clinical Labs
Evacuate!
Exception: If leaving could negatively affect patient testing - 2 people can remain in the lab
  One to continue the testing and the other to maintain outside communication and monitor surrounding areas for signs of a fire

## Slide 8: Tests and Drills
Tests are performed annually
    Advanced notice will be provided
    Evacuation is not necessary
Drills are conducted annually
    Unannounced
    Respond as you would to any other alarm

## Slide 9: R. A. C. E.
Rescue any persons in immediate fire area without endangering yourself
Alarm: sound the alarm by calling 6-9111 or activating the nearest fire alarm box
Contain the fire by shutting doors and windows, and put wet towels under the door, etc.
Extinguish if the fire is small and localized, and you are familiar with the use of a fire extinguisher, use it to put out the fire – otherwise
  Evacuate: use posted evacuation route.
  Turn off gas, electrical machinery, close doors, windows as you leave.
Primary Blood Bank Evacuation Route
Turn right out of main BB
door into hallway.
Walk to end of hallway
Take stairs to bottom
Meet in street in front of power
plant

## Slide 10: SCTCT Evacuation Route
Primary
  Exit SCTCT through either door. Turn right. Turn right again after the North tower elevators if you exited SCTCT from the cryo room. Go Down North tower stairway at the end of the hall. Exit to meet at the front of the power plant.
Secondary
  Exit SCTCT lab through the cryo room. Turn Left. Proceed to Gray building. Turn right down first hallway. Go through double doors. Go down stairway on left and exit building.
BMT Evacuation Route |  |  |  |  |  |  |  |  |  |  |  |  | 
Second Floor North Tower |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  |  |  |  |  |  | Stair Well | 
 |  |  |  | North Tower Elevators |  |  |  |  | BMT Office and Specimen Receipt |  |  | Service Elevators | 
 |  |  |  |  |  |  |  |  | BMT Processing and Cryo Rooms |  |  |  | 
 |  | Stair Well |  |  |  |  |  |  |  |  |  |  | 
Primary |  |  |  |  |  |  |  |  |  |  |  |  | 
Secondary |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 11: R. A. C. E.

## Slide 12: Emergency Alert Plain Text Matrix
Facility Alerts
Event | Recommended Plain Language
Evacuation / Relocation | Facility Alert + Relocation/Descriptor + Location
Fire / Alarm | Facility Alert + Fire or type of Alarm + Descriptor/Location
Medical Surge (Phase 1, Phase 2) Phase 3 – Mass Casualty event) | Facility Alert + Medical Surge Plan Activated + Location
Utility Failure | Facility Alert + Type of Utility Failure / Location
Dangerous weather (Tornado, etc.) | Facility Alert + Dangerous Weather Alert / Descriptor

## Slide 13: Emergency Alert Plain Text Matrix
Security Alerts
Event | Recommended Plain Language
Missing Infant / Child | Security Alert + Missing Person (Infant or Child) + Last Known Location
Missing Person > 18yoa | Security Alert + Missing Person (Adult) + Last Known Location
Armed Intruder / Active Shooter / Hostage Situation | Security Alert + Special Instructions + Descriptor (Type of Threat) + Location

## Slide 14: Emergency Alert Plain Text Matrix
Medical Alerts
Event | Approved Code
CPR Involving a Patient | Code Blue + Location

## Slide 15: Code Triage
Blood Bank staff will be notified by the Incident Command Center (ICC) when Code Triage Plan is activated
  Activate Telephone Call List immediately
  Notify management / medical director immediately (24h / 7d)
  Staff lab with minimum of 6 employees
  Print inventory (RC, PLSMA,PLT) Give to medical director.
    Medical Director / Path Resident will report to ICC.
  Notify blood supplier of disaster situation

## Slide 16: Code Triage
Virtual Personnel Pool
  Assess the number and capabilities of the employees present and report personnel available to the Virtual Personnel Pool.
    See step by step instructions on how submit a Virtual Personnel Pool
      Lab Safety Manual / Code Triage section

## Slide 17: Severe Weather
Tornado Approaching
  Listen for ECC announcement
  Evacuate to areas without exterior windows
    Central, new renovated space / storage area
    BMT office, conference room, breakroom
    Interior stairwell, basement, sub-basement
Hurricane Procedure
  Report damages or outage of service immediately to the Service Response Center using 6-9111, option 3.