## Slide 1
Safety Presentation
7.2024 | Department of Lab & Pathology

## Slide 2: Patient Safety

## Slide 3: Good Catches June 2024
There were no Good Catches reported for Lab personnel during the month of June.
Enter all Good Catches into the RL reporting system under Good Catch as well as email Tiffanee James @ tijames@wakehealth.edu

## Slide 4
WFBMC 66

## Slide 5
June 16

## Slide 6
June 10

## Slide 9
This Photo by Unknown author is licensed under CC BY-ND.

## Slide 10: Lab Employee Hazard Awareness
    July's Topic – Chemical Fumes
      PEL and STEL
      Xylene and Formaldehyde
      Exposure Monitoring
      Liquid Nitrogen

## Slide 11: PEL and STEL
PEL
    – Permissible Exposure Limit
    Maximum chemical concentration in the air that an employee can be exposed to continuously for…
      8 hours
STEL
– Short Term Exposure Limit
    Maximum chemical concentration in the air that an employee can be exposed to for…
      15 minutes

## Slide 12: Xylene
PEL - 100 ppm (parts per million of air)
STEL - 150 ppm
Symptoms of exposure
    Breathing in small amounts can cause headache, dizziness, drowsiness, and nausea
    Breathing in large amounts can cause sleepiness, stumbling, irregular heartbeat, fainting, or even death

## Slide 13: Formaldehyde
Formaldehyde is a carcinogen
PEL - 0.75 ppm
STEL - 2 ppm
Symptoms of exposure
    Long term overexposure to low levels can cause respiratory difficulty and eczema
    Short term overexposure can be fatal
Formaldehyde in the labs
Difference between Formaldehyde and Formalin…
  Gas vs. Aqueous
  100% Formalin is equivalent to 37-40% Formaldehyde

## Slide 14: Exposure Monitoring
EH&S perform exposure monitoring
Ensuring that the PEL or STEL are not being exceeded
If it is discovered that the PEL or STEL is exceeded, or the individual is symptomatic, actions must be taken to decrease exposure
      Process changes
      Engineering controls
      Additional PPE

## Slide 15: Liquid Nitrogen (LN2)
When vaporized, LN2 can expand to 695 times in volume
The expansion of the gas can replace the Oxygen in the room, causing Asphyxiation
LN2 gas has no color or odor

## Slide 16: Liquid Nitrogen (LN2)
Oxygen Monitoring
    Safe Oxygen level in the air
      19-25%
    An Oxygen monitoring system must be installed in areas where LN2 is stored
        The system is to alert you when Oxygen levels in the room are less than the acceptable percentage
        If alarm is activated you should…
                Evacuate IMEDIATELY

## Slide 17
Thank You!

## Slide 18
Please contact the Quality, Safety and Accreditation Team if you have any quality or safety concerns.
QS_A@wakehealth.edu