- True/False:

When receiving supplies and reagents, the following is the direction circular/IFU?

- The IFU number of the above package insert is:

- 3092-1

- 3001-6

- 3134-2

- None of the above

- True/False:

Once the IFU number is identified, the IFU number is compared to the Insert Code / Version # on the Direction Circular Document Change Control Form (NCBH) in the Direction Circular binders?

- If this number is the same, the next step is to:

- Write the lot number and expiration date on the current Direction Circular Document Change Control Form.

- Make a new Direction Circular Document Change Control Form.

- Don’t write the information down, it’s the same so it’s not needed.

- If the numbers do not match, and the IFU is a new version:

- Send management this form:

- Look up the new IFU on the manufacturer’s website and send management the new form.

- Make a copy of the current form from the Direction Circular Book and submit to management making sure to keep the original in the binder.

- Make a new Direction Circular Document Change Control Form filling out the below information and submit to management:

- B, C, D.

- Tracking which direction circular or IFU a reagent lot number corresponds to is important because:

- It is mandated by all regulatory agencies (AABB, CAP, FDA) that reagents and supplies be used as per manufacturer instructions.

- Management is crazy OCD.

- Because that’s the way we’ve always done it and we don’t like change.

- True/False:

It is easy to find the correct direction circular version for a specific lot number months after the lot has been put into use.

- True/False:

If I have any questions about this process I should ask my charge tech or management.