| Manual Differential (Bone Marrow) Keyboard |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Purpose | Examination of the bone marrow aspirate and Trephine biopsy is essential for the diagnosis of bone marrow disorders. A bone marrow differential cell count should be performed to assess hematopoietic activity and to compare the proportions of the different cell lineages with known reference ranges, and also to quantify abnormal cells if present. |  |  |  |  |  |
| Policy Statements | The laboratory technologist can assess cellularity, presence of megakaryocytes, and possible presence of tumor cells on the bone marrow smears. Ultimately, the pathologist is responsible for interpreting the bone marrow differential results after meticulous review of all smears stained, as well as any biopsy sections available. It is also the pathologist's responsibility to identify tumor cells that may be present. |  |  |  |  |  |
| Selecting a slide or area of a slide for examination Performing the Differential Result Reporting Reference Ranges References | Verify the patient name, medical record number and accession number. Once you select your smears, scan using 10X magnification on the microscope. Are some of the fragments (bone spicules)/smears so thick that you cannot see good morphology? If so, reject these areas/slides. Are some of the fragments/smears so thin that everything is smashed? These areas/smears cannot be used either. Are there areas in the vicinity of any of the fragments that have good staining characteristics as well as readable morphology? This is where you should begin your differential. Use low power (10x) to look at the distribution on the slide and the quality of the stain. Find areas where the spread/distribution of cells are thin enough (monolayer) to read easily and where the color balance and intensity of the stain is good. Use low power (10x) to scan the slide for the presence of Megakaryocytes (decreased, normal or increased ) and tumor cell aggregates ( present or not present ). Increased numbers of Macrophages should also be documented including the presence of hemophagocytosis if present. Once you have decided where to count the marrow, you can perform the differential count using the DFW Keyboard and the offline counter in Sunquest. A 500 cell bone marrow differential is the minimum acceptable count so set the cells counted to 500. Remember, unlike peripheral differentials, all nucleated cells are included in the total count, including all maturation stages of the erythroid cell series (which are counted in one category as erythroid precursors). Use the Band key (/) to count these. Blast cells, Promyelocytes, Myelocytes, Metamyelocytes, Band forms, Segmented Neutrophils, Eosinophils, Basophils, Promonocytes and Monocytes, Lymphocytes, and Plasma Cells should be counted. Since Segmneted Neutrophils and Bands are grouped together use the PMN key (.) to count these. All other keys are the same. The differential count should not include Megakaryocytes, Macrophages, Osteoblasts, Osteoclasts, Stromal Cells, Smudged Cells, or non-hematopoietic cells (i.e. tumor cells). For a description of cells commonly found in bone marrow go to the following link; Description of cells commonly found in Bone Marrow Cell counts are performed on 50x magnification with oil moving up to 100x magnification with oil as needed for fine detail. Begin counting at the feathered edge, be sure that you are in deep enough from the thin edge so that the numbers of damaged cells are kept to a minimum to avoid skewing the count, as some cell types are more fragile than others. After the differential has been completed record the M:E ratio, the presence of Megakaryocytes, and the presence of tumor cells or Macrophages if present on the Bone Marrow Report Form Deliver Bone Marrow Report Form to Pathologist for final review and interpretation. Bone Marrow Report form Reference ranges for bone marrow differential counts; Bone Marrow Reference Ranges Lab CE Bone Marrow Aspiration Part I: Normal Hematopoiesis and Basic Interpretation Procedures College of American Pathologists. 2010 Hematology and Clinical Microscopy Glossary. Northfield, IL: College of American Pathologists; 2010. Foucar K, Reichard K, Czuchlewski D. Bone Marrow Pathology 3rd ed. Chicago, IL: ASCP Press; 2010. Glassy EF, ed. Color Atlas of Hematology. Northfield, IL: College of American Pathologists; 1998. Hoffbrand AV, Pettit JE. Color Atlas of Clinical Hematology. St Louis, MO: Mosby; 2001. ICSH Guidelines for the Standardization of Bone Marrow Specimens and Reports S.-H. LEE, W.N. ERBER, A.PORWIT, M. TOMONAGA, L.C. PETERSON For The International Council For Standardization In Hematology |  |  |  |  |  |
|  | Version | Written/Revised by: | Effective Date: | Summary of Revisions |  |  |
|  | 1 | Al Quigley | 02/01/16 | Initial Version |  |  |
|  | Archived by: |  | Archived Date: |  |  |  |