# *Bordetella pertussis / parapertussis* PCR Sample Handling and Storage

PURPOSE

* This procedure provides instructions for sample acceptability, handling and storage
* Refer to the [Laboratory Services](http://khan.childrensmn.org/Communities/Lab.asp) web page for test specific patient preparation and sample collection information.

## SAMPLE

1. Acceptable specimens and transport container

|  |  |  |  |
| --- | --- | --- | --- |
| Specimen type | **Specimen code** | **Volume** | **Transport Containers** |
| 1 Nasopharyngeal swab | NPS | 1 wire NP swab | * NP CultureSwab™ Rayon wire mini-tip swab in Liquid Stuart’s, green top * NP CultureSwab™ Rayon wire mini-tip swab in Amies Charcoal, green top |
| Nasal aspirate | NASP | 1 – 2 mL (0.5 ml minimum) | * Sterile, plastic leak proof container |
| Nasal washing | NW |
| Bronchoscopy | BR |
| Bronchial Alveolar Lavage | BAL |
| Bronchial Aspirate | BASP |
| Bronchial Wash | BRW |

1. Unacceptable specimens: Calcium alginate swabs, nose swabs, sputum, throat swabs
2. Transport and Storage: For additional information refer to [Laboratory Services](http://khan.childrensmn.org/Communities/Lab.asp) web page

|  |  |
| --- | --- |
| Temperature | Sample Stability |
| Room temperature |  |
| * Bronch specimens | 4 hours |
| * NP swabs | 5 days |
| * Nasal wash | 5 days |
| Refrigerated , 2 - 8° C   * Bronch specimens * NP swabs * Nasal apirates/washes | 5 days |

## SAFETY CONSIDERATIONS

1. Standard precautions. Refer to [MB002.2](file:///G:\LAB\Molecular%20Biology\A.%20Molecular%20Procedure%20Manual\MB002%20Safety\MB%20002.2%20v4%20Biohazard%20Containment.docx) Biohazard Containment
2. Use of engineering controls: Refer to [MB003.1](file:///\\kidsnet.childrenshc.org\chcdfs\dept\LAB\Molecular%20Biology\A.%20Molecular%20Procedure%20Manual\MB003%20Engineering%20Controls\MB%20003.1%20Engineering%20Controls%20to%20Prevent%20Contamination.doc) Engineering Controls to Prevent Nucleic Acid Contamination

#### MATERIALS REQUIRED

|  |  |  |
| --- | --- | --- |
| **Equipment** | **Media** | **Supplies** |
| Refrigerator, 2 - 8° C | BBL CultureSwab™ Liquid Stuart’s | Nitrile gloves |
| Storage bin | BBL CultureSwab™ Amies Charcoal | 2.0 ml cryovials |
|  | Sterile , plastic leak proof container |  |

**PROCEDURE A:** Follow the activity below for sample handling

| Activity | Step | **Action** | **Related Doc** |
| --- | --- | --- | --- |
| ID | 1 | Verify that the patient identification on the primary container corresponds to the accompanying order | [MB 001.1](file:///\\kidsnet.childrenshc.org\chcdfs\dept\LAB\Molecular%20Biology\A.%20Molecular%20Procedure%20Manual\MB001%20Specimen%20Management\MB001.1%20Specimen%20Management%20in%20Molecular.doc) Specimen Management |
| Location: Microbiology | 2 | Receive sample in Sunquest and generate label   * Sunquest location: MC * Sunquest code: BORDP | [Organizational policy 630.00](http://khan.childrensmn.org/Manuals/Policy/600/033257.asp) Laboratory Specimen Labeling |
|  | 3 | Confirm the name on the label is the same as the name on primary container |  |
|  | 4 | Affix LIS accession label to corresponding primary container |  |
| Quality | 4 | Evaluate the quality of the sample. | [MB 001.2](file:///\\kidsnet.childrenshc.org\chcdfs\dept\LAB\Molecular%20Biology\A.%20Molecular%20Procedure%20Manual\MB001%20Specimen%20Management\MB001.2%20Rejection%20Criteria.doc) Specimen Rejection Criteria |
| Store | 5 | Store specimen refrigerated at 2 - 8° C |  |
|  | 6 | Place specimen and label in molecular designated area |  |

**PROCEDURE B:** Follow the activity below for aliquoting samples and preventing cross-contamination

**Sample Aliquots**

|  |  |  |  |
| --- | --- | --- | --- |
| **Activity** | **Step** | **Action** | **Related Doc** |
|  | 1 | Sample identification of all aliquots must be traceable to the primary sample | [Organizational policy 630.00](http://khan.childrensmn.org/Manuals/Policy/600/033257.asp) Laboratory Specimen Labeling |
| Identification of secondary container | 2 | Confirm the name and accession number on the aliquot label is the same as on the primary container |
|  | 3 | Affix LIS aliquot label with corresponding accession number on secondary container |
| Avoiding cross-contamination | 4 | Handle samples to avoid cross contamination of primary sample and aliquots as follows:   |  |  | | --- | --- | | Step | Action | | a | Deliver primary samples unopened to the molecular laboratory when possible or perform the following steps | | b | Properly label secondary container with patient aliquot label | | c | Verify name on primary and secondary container before transfer | | d | Use sterile pipettes and technique when transferring samples | | e | Aliquot one sample at a time with only one tube open at a time | | f | Never return the aliquot to the original container | | Refer to assay specific procedures for additional information |

**REFERENCES**

* + - 1. *B. pertussis/parapertussis* Clinical Verification and Validation Study performed at Children’s Hospitals and Clinics of MN 2015

1. Andrea J. Linscott, Section editor, *Specimen Collection, Transport, and Acceptability,*  2.1. InLynne S. Garcia (ed) *Clinical Microbiology Procedures Handbook,* Third edition2010, American Society for Microbiology, Washington, D.C.
2. J. Michael Miller, A guide to *Specimen Management in Clinical Microbiology*, 1999, ASM Press, 1325 Massachusetts Ave NW, Washington, DC

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Approval** | | | | | | | | | | | |
|  | Approved by | | | | | | **Signature** | | | **Date** | |
|  | Phillip Heaton, PhD | | | | | | Phillip R. Heaton | | | 1.29.16 | |
|  | Carlos Galliani MD | | | | | |  | | |  | |
|  | Patricia Ackerman, Technical Specialist | | | | | | P. Ackerman, TS | | | 01.23.16 | |
| **Annual Review** | | | | | | | | | | | |
|  | Reviewed by | | **Signature** | | | **Date** | | Reviewed by | **Signature** | | **Date** |
| P. Ackerman | | PA | | | 1.23.16 | |  |  | |  |
|  | |  | | |  | |  |  | |  |
| Historical Record | | | | | | | |  | | | |
|  | **Version** | **Written/Revised by:** | | | **Effective Date:** | | | **Summary of Revisions** | | | |
|  | 1 | P. Ackerman | | | 1.23.16 | | | Initial Version | | | |
|  |  |  | | |  | | |  | | | |
| Distribution | | | | | | | |  | | | |
|  | **Location** | | | **# Copies** | | | | **Location** | | | **# Copies** |
|  | Molecular Diagnostics rm B422 | | | 1 | | | | G drive: Molecular Biology/Molecular Proc Manual MB005.8l/BOR 001 | | | 1 |