## Specimen Management in Molecular Biology

PURPOSE

To maximize patient safety, all specimens must be properly identified through the entire accessing and testing processes. Proper specimen management is critical in order to provide test results that are accurate, significant and clinically relevant. It supports both good medicine and good laboratory practice.

# POLICY

- Refer to the Laboratory Services web page for test specific patient preparation and sample collection information.

- All specimens must be collected in appropriate sterile containers and correctly labeled.

Procedure A: Follow the activity below for proper identification of samples and requisition information

# Sample Identification and Labeling

| Activity | Step | Action | Related Doc |
| --- | --- | --- | --- |
|  | 1 | All specimens must have accurate and legible patient identification on the specimen container and on the requisition (computer generated) |  |
| Specimen container | 2 | The identification on the specimen must include two of the following approved patient identifiers: - The patient’s full first and last name - Medical record number - Patient’s date of birth | Organizational policy 630.00 |
|  | 3 | If two patient identifiers are not included, reject specimen according to policy | MB001.2 Specimen Rejection Criteria |
| Test Requisition | 4 | The test requisition should also include: - Date and time of specimen collection - Laboratory test requested - Specimen source/site - Requesting physician/provider - Identification of person collecting the sample Note: If any of the above information is missing, notify patient’s caregiver and obtain necessary information |  |
|  | 5 | Additional useful information - Gender - Diagnosis |  |
| LIS records | 6 | A unique laboratory accession number with associated electronic worksheet is assigned to each specimen. LIS information includes: - The patient’s full first and last name - Medical record number - Patient’s date of birth - Date and time of specimen collection - Laboratory test requested - Specimen source/site - Requesting physician/provider - Date and time of receipt - Documentation of laboratory personnel performing procedures |  |
| Accession label | 7 | Generate a LIS accession label and affix to primary sample with matching patient identification and any secondary containers that may be required for aliquots | Refer to assay specific procedures for additional information |

Procedure B: Follow the activity below for processing samples in the laboratory

Preparation and Handling of Sample Aliquots

| Activity | Step | Action | Related Doc |
| --- | --- | --- | --- |
|  | 1 | Sample identification of all aliquots must be traceable to the primary sample |  |
| Identification of secondary container | 2 | Confirm the name and accession number on the aliquot label is the same as on the primary container |  |
|  | 3 | Affix LIS aliquot label with corresponding accession number on secondary container |  |
| Avoiding cross contamination | 4 | Handle samples to avoid cross contamination of primary and sample aliquots as follows: Step; Action. a; Deliver primary samples unopened to the molecular laboratory when possible or perform the following steps. b; Properly label secondary container with patient aliquot label. c; Verify name on primary and secondary container before transfer. d; Use sterile pipettes and technique when transferring samples. e; Aliquot one sample at a time with only one tube open at a time. f; Never return the aliquot to the original container. | Refer to assay specific procedures for additional information |

Procedure C: Follow the activity below to maintain sample integrity

Specimen Transport and Storage

| Activity | Step | Action | Related Doc |
| --- | --- | --- | --- |
|  | 1 | Transport primary samples within the specified time after collection |  |
| Sample integrity | 2 | Use appropriate container for transport | Refer to tables 1 and 2 |
|  | 3 | Store samples at conditions that ensure stability of sample integrity |  |

Table 1: Abbreviation

| A = ambient 18 – 28° C room temperature (RT) | h = hours | m = months |
| --- | --- | --- |
| R = refrigerator 2 – 8° C | d = days | w = weeks |
| F = freezer –20° C or colder |  |  |
| Br = bronch |  |  |
| MRSA = methicillin resistant S. aureus |  |  |
| NP = nasopharynx |  |  |
| RSV = respiratory syncytial virus |  |  |
| TE = Tris EDTA buffer |  |  |
| UTM = universal transport media |  |  |

Table 2: Transport and Storage Requirements

|  | Transport Container | Specimen requirements | Storage/Stability |  |  |  | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Order Code |  |  | Ambient | Refrigerate | Frozen | Shipping <1day |  |
| BORDP Bordetella PCR | - Sterile container - BBL Mini-tip CultureSwab®Liquid Stuart’s, green - BBL Mini-tip CultureSwab® Amies Charcoal, green | - 1 Posterior nasopharyngeal swab - 1.0 ml (0.5 ml minimum) respiratory wash/aspirate or bronch | 5 d 4 h: Br | 5 d | 1 y | A, R R: Br | - Excess blood or mucus may interfere with testing - Calcium alginate swabs are unacceptable |
| GASDN Group A strep PCR | BBL CultureSwab® white or red | 1 Throat swab | 24 h | 5 d | 3 m in TE | R | - Excess blood or mucus may interfere with testing |
| MRSP/SMRSP MRSA PCR | BBL CultureSwab®, white | 1 Anterior nares swab | 48 h | 5 d |  | R | - Excess blood or mucus may interfere with testing |
| RIPST Flu A,B & RSV PCR | - UTM - luki tube - BBL Mini-tip CultureSwab®, green | - 2 Posterior nasopharyngeal swabs - 1.0 ml (0.5 ml minimum) respiratory wash/aspirate or bronch | 1 h | 72 h in UTM | 3 m in UTM | R | - Excess blood or mucus may interfere with testing |
| MPVP hMPV PCR | - UTM - luki tube - BBL Mini-tip CultureSwab®, green | - 2 Posterior nasopharyngeal swabs - 1.0 ml (0.5 ml minimum) respiratory wash/aspirate bronch | 1 h | 72 h in UTM | 3 m in UTM | R | - Excess blood or mucus may interfere with testing |
| CDT C. difficile PCR | Clean Stool Container | - Soft or liquid stool, stool aspirate | 48 h | 5 d | 1 – 3 m | R | - If frozen, samples can be thawed up to 1 X |
| RVP Resp. Viral Panel | - UTM - luki tube - BBL Mini-tip CultureSwab®, green | - 2 Posterior nasopharyngeal swabs - 1.0 ml (0.5 ml minimum) respiratory wash/aspirate or bronch | 1 h | 7 d in UTM | 1 y in UTM | R | - If frozen, samples can be thawed up to 2 X |

Procedure D: Follow the activity below for rejection of primary samples

Rejection Criteria

| Activity | Step | Action | Related Doc |
| --- | --- | --- | --- |
|  | 1 | Criteria have been developed for acceptance or rejection of primary samples |  |
| Rejection conditions | 2 | Testing will not be performed if the condition of the sample does not meet criteria established for: - Sample labeling - Test requested - Transport - Storage/stability conditions | MB001.2 Specimen Rejection Criteria for Molecular Diagnostics Organizational policy 630.00 Laboratory Specimen Labeling |
| Notification and documentation | 3 | Notify caregiver if sample is rejected for testing |  |
|  | 4 | All actions regarding sample rejection must be documented: - Reason for rejection - Person notified, date and time of notification |  |

# REFERENCES

- Andrea J. Linscott, Section editor, Specimen Collection, Transport, and Acceptability,  2.1. In Lynne S. Garcia (ed) Clinical Microbiology Procedures Handbook, Third edition 2010, American Society for Microbiology, Washington, D.C.

- J. Michael Miller, A guide to Specimen Management in Clinical Microbiology, 1999, ASM Press, 1325 Massachusetts Ave NW, Washington, DC

| Approval |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Approved by |  |  |  |  | Signature |  |  | Date |  |  |
|  | Dennis Drehner, DO |  |  |  |  | Dennis Drehner, DO |  |  | 9/12/2011 |  |  |
|  | Tim Casey MD |  |  |  |  | Tim Casey MD |  |  | 7.3.15 |  |  |
|  | Phillip Heaton, PhD |  |  |  |  | Phillip Heaton PhD |  |  | 10.1.15 |  |  |
|  | Carlos Galliani MD |  |  |  |  | Carlos Galliani |  |  | 7.3.15 |  |  |
|  | Patricia Ackerman, Technical Specialist |  |  |  |  | Patricia Ackerman, TS |  |  | 1.12.16 |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |
|  | Reviewed by |  | Signature |  |  | Date | Reviewed by | Signature |  |  | Date |
|  | P. Ackerman |  | PA |  |  | 6/26/09 | P. Ackerman | PA |  |  | 9.19.2014 |
|  | P. Ackerman |  | PA |  |  | 7/23/10 | P. Ackerman | PA |  |  | 6.29.15 |
|  | P. Ackerman |  | PA |  |  | 7/9/11 | P. Ackerman | PA |  |  | 9.11.15 |
|  | P. Ackerman |  | PA |  |  | 9/19/12 | P. Ackerman | PA |  |  | 1.12.16 |
|  | P. Ackerman |  | PA |  |  | 4/10/13 |  |  |  |  |  |
| Historical Record |  |  |  |  |  |  |  |  |  |  |  |
|  | Version | Written/Revised by: |  | Effective Date: |  |  | Summary of Revisions |  |  |  |  |
|  | 1.0 | P. Ackerman |  | 12/9/99 |  |  | Initial Version |  |  |  |  |
|  | 1.1 | P. Ackerman |  | 9/13/01 |  |  |  |  |  |  |  |
|  | 1.2 | P. Ackerman |  | 8/28/03 |  |  |  |  |  |  |  |
|  | 1.3 | P. Ackerman |  | 6/28/04 |  |  |  |  |  |  |  |
|  | 1.4 | P. Ackerman |  | 7/20/05 |  |  |  |  |  |  |  |
|  | 1.5 | P. Ackerman |  | 6/27/07 |  |  | Aliquot specimens must be appropriately labeled for specimen tracking. Never return to original container |  |  |  |  |
|  | 1.6 | P. Ackerman |  | 6/25/09 |  |  | Revised dept. title to “Molecular Diagnostics”; reformatted, modified content to fit Molecular specifically; added hyperlinks to supporting documents. Added Specimen transport and Storage table |  |  |  |  |
|  | 1.7 | P. Ackerman |  | 10/9/10 |  |  | Added CT/GC, RIPST and MPVP specimen transport and collection information to table |  |  |  |  |
|  | 8 | P. Ackerman |  | 9/9/11 |  |  | Reformatted procedure, Changed version designation to whole number |  |  |  |  |
|  | 9 | P. Ackerman |  | 9/19/12 |  |  | Remove CT/GC information from Table 1, added CDT information |  |  |  |  |
|  | 10 | P. Ackerman |  | 9.19.2014 |  |  | Removed EVNA information; Added GASD storage/transport information |  |  |  |  |
|  | 11 | P. Ackerman |  | 6.29.2015 |  |  | Added RVP storage/transport information |  |  |  |  |
|  | 12 | P. Ackerman |  | 9.11.15 |  |  | Added new director review |  |  |  |  |
|  | 13 | P. Ackerman |  | 1.12.16 |  |  | Added Bordetella PCR assay, BORP |  |  |  |  |
| Distribution |  |  |  |  |  |  |  |  |  |  |  |
|  | Location |  |  |  | # Copies |  | Location |  |  | # Copies |  |
|  | Molecular Diagnostics rm B422 |  |  |  | 1 |  | G: Molecular Biology/Mol Proc Manual/MB001.1 |  |  | 1 |  |