# Storage and Stability of Processed Samples, Controls and Reagents

PURPOSE

- This procedure provides instructions for storage and stability of sample buffer tubes and reagents.

## SAFETY CONSIDERATIONS

- Standard precautions

ABBREVIATIONS

- GAS: Group A Strep

- MM: master mix

- NEGC: negative control

- NFW: nuclease free water

- PCTL: process control

- POSC: positive control

- pp: primer – probe

- SEAC: Simplexa extraction and amplification control

#### MATERIALS REQUIRED

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| Room 1 - Refrigerator 2 – 8° C - -10 to -30° C freezer - Mini-centrifuge - Laminar flow hood - Eppendorf Repeater pipette Room 2 - Refrigerator 2 – 8° C - BSC BSL-2 - -70⁰ C freezer | GAS primer pair ( 50 µl) | Orange barrier wipes |
|  | TA master mix (2 vials, 200 µl ea) | Nitrile gloves (powder-free) |
|  | GAS positive control (POSC) 100 µl | Cryovial storage box |
|  | NFW (NEGC) | Test tube rack |
|  | TE buffer 1X pH 8.0 (100 ml) | Scissors |
|  | SEAC - Amplification Control DNA - Amplification Control primer pair | Eppendorf pipette tip, 5 ml |

PROCEDURE A:  Follow the activity below for the proper storage of sample buffers

Storage and Stability of Processed Specimens

| Activity | Step | Action | Related Documents |
| --- | --- | --- | --- |
|  | 1 | Using a barrier wipe, break specimen swab off in the sample TE buffer tube; vortex 1 min | MB 001.1 Specimen Management |
| Processed sample in buffer tube Room 2 | 2 | Store sample buffer tubes as follows: Temperature; Stability. Room temp; 4 hr. 2 – 8° C; 48 h. -70⁰ C; 90 days. |  |

PROCEDURE B: Follow the activity below for proper storage of reagents. Refer to Tables 1 – 3.

Information for Reagent Storage

| ###### Activity | ###### Step | Action | Related Doc |
| --- | --- | --- | --- |
|  |  | Always change gloves prior to handling new reagents and cartridges |  |
|  | 1 | GAS PCR reagents are shipped frozen on dry ice - Do not use reagents if thawed upon arrival - Do not use reagents if vials have been damaged - Contact Focus Customer Service at 1.800.838.4548 for shipping issues |  |
| General Information | 2 | Store reagents at -10 to -30° C until expiration date located on the vial unless otherwise noted. Refer to Table 1. | MB 004.2 Standards of Practice |
|  | 3 | Discard reagents that have not been stored properly or have expired according to lab safety policy |  |
|  | 4 | Remove only the required amount of reagents from storage needed for testing. - Clean gloves required |  |
|  | 5 | Protect from excess heat and light; store in dark |  |
|  | 6 | Thaw reagents at room temperature before use |  |
|  | 7 | Once thawed, store reagents at 2 – 8° C up to 30 days - Do not refreeze |  |
|  | 8 | Do not allow contact with reactive vapors from bleach or Extran or dust as these may affect the performance. |  |
|  | 9 | Do not interchange the reagent tube caps |  |

- Table 1: Simplexa GAS Reagents

| Reagent | Unopened Reagent temp (° C) |  | Stability | Opened Reagent temp (° C) |  |  | Stability |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GAS POSC (red) | -70 | Room 2 | expiry date | 2 – 8 | Room 2 | 30 days |  |
| TA MM (green) | -10 to -30 | Room 1 | expiry date | 2 – 8 | Room 1 | 30 days |  |
| GAS pp, conc. 15 µM (brown) | -10 to -30 | Room 1 | expiry date | 2 – 8 | Room 1 | 30 days |  |
| SEAC (blue) | -10 to -30 | Room 1 | expiry date | 2 – 8 | Room 1 | 30 days |  |

- Table 2: Molecular Grade Water (RNase and DNase free)

| Reagent | Unopened/Opened temp (° C) |  | Aliquot Storage temp (° C) |  | In Use Aliquots, temp (° C) |  |
| --- | --- | --- | --- | --- | --- | --- |
| Nuclease free water (NFW) | RT | Room 1 | 2 – 8 | Room 1 | 2 – 30 | Room 2 |

- Table 3: TE Buffer and Aliquot Storage

| Reagent | Unopened/Opened temp (° C) |  | Aliquot Storage temp (° C) |  | In Use Aliquots, temp (° C) |  |
| --- | --- | --- | --- | --- | --- | --- |
| TE buffer 1X | RT | Room 1 | 2 – 8 | Room 1 | 2 – 30 | Room 2 |

Table 4: Process Control Storage

| Reagent | Temperature (° C) |  | Stability | Temperature (° C) |  | Stability |
| --- | --- | --- | --- | --- | --- | --- |
| GAS Process Control (matrix) | ≤ 70 | Room 2 | 1 year | 2 – 8 | Room 2 | 7 days |
| GAS Process Control (swab) | NA | NA | NA | 2 – 8 | Room 2 | 7 days |

REFERENCES

- GAS PCR Clinical Verification and Validation Study performed at Children’s Hospitals and Clinics of  MN August 2014

- Simplexa™ Group A Strep Molecular Control Circular PI.MOL8033.IVD, Rev. C, 16-April-2013, Focus Diagnostics, Cypress, CA 90630

- Group A Primer Pair (50 µl) ASR, Circular PI.MOL9033 Rev. C, 21 May 2012, Focus Diagnostics, Cypress, CA 90630

- Simplexa™ Extracton & Amplification Control Set, Circular PI.MOL9000, Rev. D, CE, 7 Mar 2013, Focus Diagnostics, Cypress, CA 90630

| Approval |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ### Approved by |  |  |  |  | Signature |  |  |  | Date |  |  |
|  | Tim Casey, MD |  |  |  |  |  |  |  |  |  |  |  |
|  | Patricia Ackerman, Technical Specialist |  |  |  |  | Patricia Ackerman, TS |  |  |  | 8.31.14 |  |  |
| Annual Review |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ### Reviewed by |  | Signature |  |  | Date |  | ### Reviewed by | Signature |  | Date |  |
|  | P. Ackerman |  | PA |  |  | 8.31.14 |  |  |  |  |  |  |
| Historical Record |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Version | Written/Revised by: |  | Effective Date: |  |  | Summary of Revisions |  |  |  |  |  |
|  | 1 | P. Ackerman |  | 9.9.14 |  |  | Initial Version |  |  |  |  |  |
| Distribution |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Location |  |  |  | # Copies |  | Location |  |  |  |  | # Copies |
|  | Molecular Diagnostics rm B422 |  |  |  | 1 |  | G drive: Molecular Biology/Mol Proc Manual/MB005.2 GASD |  |  |  |  | 1 |