| Blood Specimen Collection Containers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Purpose | This procedure provides definition of acceptable BLOOD SPECIMEN COLLECTION CONTAINERS at Children’s Hospitals and Clinics of Minnesota. |  |  |  |
| Policy Statements | - Specific instructions for the proper collection and handling of specimens must be made available to laboratory personnel. - Blood collection tubes and collection devices are used within their expiration dates and stored per manufacturer's instructions. - This procedure applies to all laboratory staff. |  |  |  |
| Procedure | Follow the activities in the table below for using BLOOD SPECIMEN COLLECTION CONTAINERS. Step; Action. 1; Specimen collection containers introduced into the laboratory will have correlation studies completed before they are put into service for testing patient specimens. - The laboratory director should determine the scope of testing required. - Approval must be obtained from the Institutional Review Board if obtaining additional blood volume for testing is required. - Perform parallel testing of a minimum of 20 specimens. - Specimens will be drawn into both containers at the same time from the same puncture. - Identical testing will be performed on both specimens. - Results will be evaluated and correlations reviewed using defined acceptance criteria, for example, CLIA ’88 guidelines.. 2; Acceptable blood specimen collection containers: Refer to SCM 3.00.a1 Blood Collection Containers Pictures Container Type; Volume. BD Microtainer® MAP Microgard Closure Tube with K2EDTA (363706); 250 - 500l. BD Microtainer® Microgard Closure Plasma Separator Tube with Lithium Heparin (365985); 400 – 600l. BD Microtainer® Microgard Closure Tube No Additive (Red) (365963); 250 – 500l. BD Microtainer® Microgard Closure Plasma Separator Tube with Lithium Heparin amber (365987); 400 – 600l. BD Vacutainer Brand Tube with Buffered Na Citrate Solution; 1.8ml, 2.7ml. BD Vacutainer Brand Tube with Lithium Heparin; 3ml. BD Vacutainer Brand Tube with (K2) EDTA Solution; 2ml, 6ml, 10ml. BD Vacutainer Serum Tube with No Additive; 7ml, 10ml. BD Vacutainer Brand Tube with Sodium Heparin; 4ml, 10ml. BD Vacutainer Brand Tube with Acid Citrate Dextrose Solution (B); 6ml. BD Vacutainer Brand Tube with Acid Citrate Dextrose Solution (A); 8.5ml. BD Bactec Peds Plus/F Aerobic Blood Culture Bottle; 1 –3ml. BD Bactec Standard Anaerobic/F Blood Culture Bottle; 3-10ml. Radiometer safe Clinitubes with Lithium Heparin; 125l. Portex Arterial Blood Sample Syringe with Lithium Heparin; 1ml. Wampole Isolator Microbial Tubes; 1.5ml, 10ml. Monoject EDTA (Na2) Metal Free; 7ml. Monoject No Additive Metal Free; 7ml. Pyruvate Tube (6% Perchloric Acid); 1ml. Quantiferon Collection Kit (3 Tubes); 1ml each.. |
| References |  |  |  |  |
|  | - Laboratory General Checklist, College of American Pathologists, 325 Waukegan Road, Northfield, IL 60093-2750, www.cap.org, 04.21.2014 - BD Microtainer ® MAP Microtube for Automated Process Insert, Becton, Dickinson and Company, Franklin Lakes, NJ, 3/2011 |  |  |  |
| Historical Record |  |  |  |  |
|  | Version | Written/Revised by: | Effective Date: | Summary of Revisions |
|  |  | Unknown | 1991 | Laboratory Handbook version |
|  |  | Daniel Shaw | 11/2010 | Blood Specimen Collection Containers |
|  |  | Daniel Shaw | 6/2013 | Blood Specimen Collection Containers |
|  |  | Linda Lichty | 01/20/2015 | Revised for Microgard microtainers, revised policy, revised validation to 20 samples |
|  |  | Lisa Kappenman | 10/01/2016 | Renumbered procedure, minor revisions |